{"text_format":"1","workbook":"xlsx","n_sheets":7,"sheets":["2025 BEST","2030 DG","2030 EUCO","2030 ST","2040 DG","2040 GCA","2040 ST"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025 BEST","index":0,"n_rows":61,"n_cols":16,"rows_kept":61,"cut":false,"hidden":false,"merged":[]}
["Scenario","2025 BEST"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
["AL",0,300,0,0,468,1868,0,0,0,0,0,0,50,80,0]
["AT",0,4580,246,5385.3329999999996,4672,10232.850999999999,0,0,174,984,620,0,3200,4400,0]
["BA",0,0,0,440,1144,1120,2323,0,0,0,0,0,0,350,0]
["BE",648.6,5989.1,0,1150,117,1308,0,0,0,1157,658,0,4547.38,2855.5,2310]
["BG",0,268,168,933,570,2800,3895,2200,0,1348,150,0,1500,1000,0]
["CH",0,0,0,4593,4139,13580,0,2175,0,900,984,0,4100,170,0]
["CY",0,660,0,0,0,0,0,0,678,0,28,75,440,213,0]
["CZ",0,1390,803,1000,365,1050,5466,4055,0,1505,1005,0,3540,790,0]
["DEkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,336]
["DE",0,27643.163173005141,20900.099999999999,9791.6,4329,10787.5,11416.5,0,870.5899999999998,9132.3250000000007,7229,0,57649.995000000003,55500,10964]
["DKe",1020,0,0,0,3.6999999999999998E-2,0,0,0,536,28.3,240.07,0,634.99285358918087,819,634]
["DKkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",590,430,410,0,6.5712000000000002,0,0,0,281,70.8,460.33000000000004,0,1246.0071464108191,4152,1483]
["EE",0,94,0,0,10,0,0,0,1328,150,126.65,0,50,1000,0]
["ES",0,24560,4660,7180,3725,18100,0,7117,0,8070,1800,2300,19900,28900,0]
["FI",570,1394,1282,0,0,3200,0,5565,1300,450,2200,0,400,2200,500]
["FR15",0,0,0,0,197,197,0,0,404,0,43,48,110,36,0]
["FR",0,11496,0,3500,13600,11500,0,52200,990,0,2641,0,21400,26300,3500]
["GB",0,29695,0,0,119,1525,0,4715,575,10977,7610,0,18803,15220,17130]
["GR03",0,0,0,0,0,0,0,0,98,0,0,50,96,320,0]
["GR",0,5213,0,699,262,3419,2605,0,0,0,325,150,2904,3130,0]
["HR",0,1300,700,300,500,2300,0,0,0,200,320,100,100,1200,0]
["HU",0,2785.4,152.1,0,60,0,682,3068,410,405,310,0,1400,800,0]
["IE",0,3724,855,292,238,292,196,0,324,160,114,0,100,4800,0]
["IL00",0,14683,3400,0,0,0,0,0,620,1200,240,2000,2225,1450,0]
["IS00",0,0,0,0,0,2615,0,0,0,0,660,0,0,0,0]
["ITcn",0,1497.9,0,270.90000000000003,230.03184590115077,1187.5722877279836,0,0,0,519.90677119996258,1171.8227972651741,0,2735,248,0]
["ITcs",0,4086.5,1845,1186.2,495.30433427836499,2145.2915079485574,0,0,0,562.12245964902741,543.52758082724517,2,3326,2892,0]
["ITn",0,18067.170000000002,1175,3560,4517.7226932336771,11279.694095169312,0,0,135.69999999999999,3252.5620740521445,2644.3346096812757,0,9963,243,0]
["ITsar",0,0,966,217.8,41.442992791340288,423.4,0,0,80,692.96849919205613,101.14679135051573,50,976,1188,66]
["ITsic",0,2763.6559999999999,0,496.89696969696973,16.924672338343068,658,0,0,354,519.62608159164722,79.782802047658492,75,1698,2121,163]
["ITs",0,7962.1379999999999,2420,0,220.80599286861411,761.91179720658295,0,0,0,908.85011431516205,712.23931882813065,44,4360,6661,218]
["LT",0,939,0,1125,138,1125,0,0,0,227,159,0,80,700,0]
["LUb",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["LUf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["LUg",0,0,0,0,34,0,0,0,0,90,46.3,0,170,175,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",0,1031,0,0,0,1619,0,0,0,136,243,0,10,154,56]
["ME",0,0,0,0,132,1139,450,0,0,0,36,0,20,168.3,0]
["MK",0,290,120,0,151,579,615,0,0,0,26,0,32,100,0]
["MT",0,375,0,0,0,0,0,0,210,0,0,0,277.27100000000002,0,0]
["NI",0,990,0,0,0,0,0,0,311,12,86.6,0,350,1540,0]
["NL",0,8451.7999999999993,4608,0,38,0,0,486,0,4086,507,0,7552,6238.6,6500]
["NOm",0,0,0,83.6,0,4931.3999999999996,0,0,0,0,0,0,0,1479.3,0]
["NOn",0,195,0,1.3,0,5540.4,0,0,0,0,40.000300000000003,0,0,1105.9999999999998,0]
["NOs",0,240,0,1029.808,0,23755.1,0,0,0,0,36.299999999999997,0,0,515,0]
["PL",0,1506,14892,1488,1008,1413,7592,0,0,7319,1331,0,600,8100,600]
["PT",0,2839,1180,3564.9,734.7,7673.2,0,0,0,1052,843,0,1816,5554,60]
["RO",0,3241.0959999999995,428,0,3214.8328671690797,3289.8256999999999,3020.5,2630,0,0,250,0,1500,3500,0]
["RS",0,140,0,560,2025,1063,5306,0,0,0,66,0,100,1068,0]
["SE1",0,0,0,0,0,5215,0,0,0,0,298,0,0,1010,0]
["SE2",0,0,0,0,0,8035,0,0,0,0,622,0,60,3860,0]
["SE3",0,0,80,0,0,2586,0,6852,190,390,2528,0,860,2550,0]
["SE4",0,448,0,0,0,348,0,0,330,0,719,0,320,1430,190]
["SI",0,479,50,600,1225,600,539,696,0,152,66,0,295,59,0]
["SK",0,241.41,197.18,916,848,1708,240.28,2890,0,878.60599999999999,408.42690000000005,0,596,123,0]
["TN00",0,10872,0,0,66,0,0,0,544,0,0,0,560,589,0]
["TR",0,27842,13083.3,0,10800,25200,14000,5900,492.2,450,1250,0,7000,13000,0]

{"sheet":"2030 DG","index":1,"n_rows":61,"n_cols":16,"rows_kept":61,"cut":false,"hidden":false,"merged":[]}
["Scenario","2030 DG"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
[" IS00",0,0,0,0,0,2615,0,0,0,0,694,0,0,0,0]
["AL",0,700,0,0,468,2402,0,0,0,0,0,0,1974,150,0]
["AT",0,3928,0,6055.3329999999996,4671.89977,10842.850999999999,0,0,174,984,620,0,7803,5000,0]
["BA",0,0,0,440,1144,1120,2122,0,0,0,0,0,2396,640,0]
["BE",648.6,6352,0,1150,117,1308,0,0,500,1157,658,0,6851,3298,2310]
["BG",0,718,0,933,600,2800,3895,2200,0,1579,350,0,4211,1250,0]
["CH",0,0,0,4593,4139,13580,0,1190,0,985,1300,0,9371,370,0]
["CY",0,660,0,0,0,0,0,0,1054.5,0,40,83,920,275,0]
["CZ",0,995,0,1000,365,1050,4760,4055,0,1505,1167,0,6993,950,0]
["DEKF",0,0,0,0,0,0,0,0,0,0,0,0,0,0,300]
["DE",0,29058.10417300514,14727.099999999999,9791.6,4329,10787.5,9368.2000000000007,0,835.18999999999983,10321.130000000001,6631,0,94574,58500,14664]
["DKe",915,0,0,0,3.6999999999999998E-2,0,0,0,536,28.3,240.07,0,1782,975,429]
["DKKF",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",270,0,410,0,6.5712000000000002,0,0,0,281,70.8,460.33000000000004,0,3331,4621,1876]
["EE",0,0,0,0,10,0,0,0,656,150,126.65,0,859,1500,0]
["ES",0,24560,847,8280,3850,19200,0,7117,0,8500,2550,2300,47157,31000,0]
["FI",685,1474,714,0,0,3200,0,4560,1300,450,2200,0,2853,2300,700]
["FR15",0,0,0,0,197,197,0,0,434,0,47,50,115,36,0]
["FR",0,8892,0,5500,13600,13500,0,37640,5990,0,3591,0,41485,36300,7000]
["GB",0,30823,0,0,142,1553,0,5686,695,6040,8142,0,34663,16125,22182]
["GR03",0,0,0,0,0,0,0,0,228,0,0,50,150,1000,0]
["GR",0,5710,0,1289,275,4009,2251,0,0,0,450,190,7410,4850,150]
["HR",0,1000,500,300,500,2300,0,0,0,200,400,100,2658,1500,0]
["HU",0,2054.4,108,0,60,0,0,4248,0,355,410,0,6200,1000,0]
["IE",0,3781,0,442,216,442,80,0,600,160,350,0,3716,5500,700]
["IL00",0,16199,3400,0,0,0,0,0,1720,1200,320,3000,3600,2600,0]
["ITcn",0,1117.0999999999999,0,270.90000000000003,236.33327561127683,1187.5722877279836,0,0,0,448,1171.8227972651741,0,5182,292,0]
["ITcs",0,4086.5,1845,1186.2,502.44310964184444,2145.2915079485574,0,0,0,490,543.52758082724517,5,6803,3857,0]
["ITn",0,18067.170000000002,0,3560,4605.353795619284,11279.694095169312,0,0,0,2776,2644.3346096812757,0,22377,312,0]
["ITsar",0,0,966,217.8,46.659772845087474,423.4,0,0,0,687,101.14679135051573,50,1713,1305,110.5]
["ITsic",0,2763.6559999999999,0,496.89696969696973,19.65762792342991,658,0,0,354,503,79.782802047658492,75,3347,2364,195]
["ITs",0,6670.1379999999999,0,0,226.88650633622478,761.91179720658295,0,0,0,881,712.23931882813065,100,6964,7445,349]
["LT",0,464,0,1125,138,1125,0,0,0,227,199,0,1775,750,0]
["LUb",0,0,0,0,0,0,0,0,0,0,0,0,13,0,0]
["LUf",0,0,0,0,0,0,0,0,0,0,0,0,62,0,0]
["LUg",0,0,0,0,34,0,0,0,0,90,51.3,0,280,200,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",0,1031,0,0,0,1619,0,0,0,150,295,0,936,300,150]
["ME",0,0,0,0,132,1139,450,0,0,0,39,0,413,250,0]
["MK",0,0,120,0,151,647,915,0,0,0,26,0,1389,100,0]
["MT",0,375,0,0,0,0,0,0,210,0,0,0,458,0,0]
["NI",0,1150,0,100,0,100,0,0,150,26,96.6,0,1416,1540,0]
["NL",0,7592.8,4608,0,38,0,0,486,0,3539,507,0,14084,6722.98,11500]
["NOm",0,0,0,83.6,0,5381.4,0,0,0,0,0,0,536,1529.3000000000002,0]
["NOn",0,195,0,1.3,0,5900.3999999999987,0,0,0,0,40.003,0,443,1105.9999999999998,0]
["NOs",0,240,0,1029.808,0,24535.100000000002,0,0,0,0,36.299999999999997,0,1993,695.00000000000011,0]
["PL",0,2741,13771,1488,1033,1413,7405,3000,1000,7276,1756,0,24870,9200,2250]
["PT",0,3727,0,4119.8999999999996,734.7,8466.2000000000007,0,0,0,1052,843,0,6581,5554,60]
["RO",0,2282.241,85,0,3290.5620671690804,3309.9157,3440.5,2630,0,0,500,0,11642,4200,0]
["RS",0,580,0,1260,2025,1763,5306,0,0,0,118,0,5535,1068,0]
["SE1",0,0,0,0,0,5215,0,0,0,0,298,0,388,1410,0]
["SE2",0,0,0,0,0,8035,0,0,0,0,622,0,663,4780,0]
["SE3",0,0,0,0,0,2586,0,6852,0,390,2564,0,3390,3020,0]
["SE4",330,0,0,0,0,348,0,0,0,0,719,0,943,1570,190]
["SI",0,395,50,600,1500,600,539,696,0,159,67,0,1373,80,0]
["SK",0,241.41,0,1486,974,2292,240.28,2890,0,898.60599999999999,505.19690000000003,0,3578,264.5,0]
["TN00",0,16120,0,0,66,0,0,0,0,0,0,0,672,639,0]
["TR",0,15709.4,11942.6,0,11411,26625,8711.5,8400,673.80000000000007,500,1250,0,58402,20170,0]

{"sheet":"2030 EUCO","index":2,"n_rows":61,"n_cols":16,"rows_kept":61,"cut":false,"hidden":false,"merged":[]}
["Scenario","2030 EUCO"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
[" IS00",0,0,0,0,0,2615,0,0,0,0,694,0,0,0,0]
["AL",0,700,0,0,468,2402,0,0,0,0,0,0,80,150,0]
["AT",0,2565.98516070295,776.54813360155902,6508.3329999999996,4671.89977,12272.850999999999,0,0,422.87965026915055,464.93,1373.0439992289462,0,6500.80912559034,5887.6940112761304,0]
["BA",0,0,0,440,1144,1120,2536,0,0,0,0,0,100,640,0]
["BE",810,9688.1476267903254,15.649000000000001,1150,117,1308,0,0,217.55193182696698,0,0,0,6907.3857903676198,4145.7979780696596,3239.9083333333301]
["BG",99,790.4560598949613,1011.44,933,600,2800,2369.8507690606211,1920,1.71,0,0,0,3068.75615342022,2852.0578825075499,0]
["CH",0,1364.43,0,4593,4139,13580,0,1190,7.9,0,587.6,0,0,1301,0]
["CY",11,947.15679136559186,0,0,0,0,0,0,496.90867901176847,0,0,0,544.212230252925,228.860368272138,0]
["CZ",0,867.53490340695794,1595.75855,1000,365,1050,7201.7685690625704,4006.08,63.702120000000001,210.73,616.64001272712198,0,2616.6284187153401,2690.3602528013998,0]
["DEkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,336]
["DE",8567,17081.42133962021,22929.694755194105,9791.6,4329,10583,13781.59008,0,1246.662981823159,1671,0,2,81500.867668028601,59901.566280358697,9547.4623386760395]
["DKe",986,0,869.35308880308878,0,3.6999999999999998E-2,0,0,0,135.60253717064887,0,0,0,282.79079962277956,918.434657918325,415.67950668426454]
["DKkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",1886,787.80042081037323,602.2969111969112,0,6.5712000000000002,0,0,0,81.717213516702117,0,0,0,554.90287060329342,4352.9092864005952,1817.7500105820054]
["EE",0,332.71314643798803,0.54216338774765804,0,10,0,0,0,1412,50,204.27799304197978,0,0,512.15080521157802,0]
["ES",2075,27920.60565349954,3967.7042325204666,8280,3850,19200,0,7398.8,2950.5566201182601,195,0,6133.2283861527603,25835.169981128998,34534.493660074499,62.8288290349238]
["FI",0,2791.8594947176061,817.90000000000009,0,0,3200,945.37729999999999,3398.4,1108.8508138182169,123.62,3383.9429000133714,0,19,4021.4739214435904,118.66851177930199]
["FR15",0,0,0,0,197,197,0,0,404,0,47,50,115,36,0]
["FR",3853,7641.6117513956824,3779.5730000000003,5500,13600,13500,0,59493.120000000003,1701.442202787005,619.62,0,0,28353.755529160298,19114.8808410036,6035.4997133412298]
["GB",17760,28713.233432478748,501.01,0,142,1553,0,13107,2579.3745055182826,774,0,0,10860,24335.446829141194,13326.2733439656]
["GR03",0,0,0,0,0,0,0,0,98,0,0,50,150,1000,0]
["GR",262,4738.3067883869062,0,1289,275,4009,2865.002333991461,0,732.53812335342127,0,0,0,7675.4100736967903,7157.4166331082397,0]
["HR",0,833.90886369186387,654.86872806051099,300,500,2300,1.20906181624446,0,370.00015896728638,0,29.926859172981501,0,1452.5492160963099,1210.7625583736501,0]
["HU",358,2768.9429185873801,0,0,60,0,414,4482,5,88.97,0,0,1765.95658335334,1225.9765165689701,0]
["IE",200,3137.7636347447083,841.8,442,216,442,0,0,173.356348935879,0,0,0,18.679689067563899,5099.3042866180103,130.728169943598]
["IL00",0,16199,3400,0,0,0,0,0,620,1200,320,3000,3600,2600,0]
["ITcn",1384,1409,0,270.90000000000003,236.33327561127683,1187.5722877279836,0,0,0,0,0,0,4346.4324265184596,281.00675142708218,0]
["ITcs",642,6377,1468,1186.2,502.44310964184444,2145.2915079485574,0,0,0,0,0,0.76086956521739113,5525.4003823739586,3711.7912337474527,0]
["ITn",3112,22838,934.63,3560,4605.353795619284,11279.694095169312,0,0,0,379,0,0,15280.955452798733,300.2537891960605,0]
["ITsar",119,0,768,217.8,46.659772845087474,423.4,0,0,0,0,0,7.6086956521739122,1757.412907979357,1255.8692144258298,0.58322420716872336]
["ITsic",94,3970.51,0,496.89696969696973,19.65762792342991,658,0,0,1445,0,0,11.413043478260869,2918.7184225486308,2274.9998642932273,1.0292191891212767]
["ITs",841,8431,1925,0,226.88650633622478,761.91179720658295,0,0,725.35574999999994,0,0,15.217391304347824,7247.4884077808665,7164.7098095021493,1.8420384461709001]
["LT",142,1348.082961897861,0,950,138,1125,0,1117,6.2700000000000006E-2,0,0,0,73.679046100000093,1053.00216321782,0]
["LUb",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["LUf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["LUg",37,442.25756350515508,0,0,34,0,0,0,1.6091133333333301,0,0,0,389.99312413185999,322.92750000000001,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",138,1090.4404329276899,21.16,0,0,1619,0,0,15.214499999999999,0,0,0,0,500.06373988523001,48.940225066174897]
["ME",0,0,0,0,132,1139,450,0,0,0,39,0,30,250,0]
["MK",0,290,120,0,151,647,915,0,0,0,26,0,32,100,0]
["MT",2.65,615.21637809763183,0,0,0,0,0,0,287.49324999999999,0,0,0,264.041627339412,4.1024244103672798,0]
["NI",210,1071.2850289508001,0,100,0,100,0,0,511.72584899654339,0,0,0,170,2300,0]
["NL",2690,10379.32314333194,4428.6399999999994,0,38,0,0,485,2065.7628529403592,433.18,0,0,5932.9304686252899,7674.1873785804901,2560.6958292545501]
["NOm",0,0,0,83.6,0,5381.4,0,0,0,0,0,0,0,1700,0]
["NOn",71,835.26682284622268,1.61975894312765,1.3,0,5900.3999999999987,0,0,1.1188181371701817,0,0,0,0,1200,0]
["NOs",64,1028.5216568850474,1.9935494684647999,1029.808,0,24535.100000000002,0,0,1.3770069380556083,14.65,0,0,800,800,1840]
["PL",2358,4522.233042657439,12978.8134539983,1488,1033,1413,6368.6555017745413,0,2355.2032248526571,368.66,0,0,1145.6191164085999,13550.6967278912,777.24145706627303]
["PT",659,3744.1871252422538,0,4119.8999999999996,734.7,8466.2000000000007,0,0,999.96251000000007,0,0,50,2076.8194017752999,6849.0624986494004,27]
["RO",219,3845.8437533137194,231.5,0,3290.5620671690804,3309.9157,1677.76,2828,675.678,5.7,0,0,3213.6562899357,6729.6019404315102,0]
["RS",0,580,0,1260,2025,1763,5306,0,0,0,118,0,200,1068,0]
["SE1",227,0,0,0,0,5215,0,0,0,0,0,0,87.621664068153393,1790.2931847709863,0]
["SE2",474,0,0,0,0,8035,0,0,0,0,0,0,60.428733840105785,6069.2208675214997,0]
["SE3",1953,2789.4399995162566,104.88,0,0,2586,23.359000000000002,6949.44,560.31488966124198,274.47000000000003,0,0,60.428733840105785,3834.5286652541695,0]
["SE4",548,324.32003334750669,0,0,0,348,0,0,275.18525632790897,0,0,0,22.660775190039669,1993.4470213407435,227.47330064318001]
["SI",118,206.60926962222041,68.08,600,1500,600,553,696,0,0,0,0,1743.39782241851,336.81733293237602,0]
["SK",455,1007.1979253240274,327.82299999999998,1486,974,2292,125.69,4020,84.190500000000014,95.51,0,0,679.74776531641896,374.10511764867698,0]
["TN00",0,16120,0,0,66,0,0,0,0,0,0,0,672,639,0]
["TR",0,29415,14116.5,0,11411,26625,15673.3,8400,673.80000000000007,500,1250,0,8000,20170,0]

{"sheet":"2030 ST","index":3,"n_rows":61,"n_cols":16,"rows_kept":61,"cut":false,"hidden":false,"merged":[]}
["Scenario","2030 ST"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
[" IS00",0,0,0,0,0,2615,0,0,0,0,694,0,0,0,0]
["AL",0,700,0,0,468,2402,0,0,0,0,0,0,80,150,0]
["AT",0,4164,0,6055.3329999999996,4671.89977,10842.850999999999,0,0,174,984,620,0,4500,5000,0]
["BA",0,0,0,440,1144,1120,2536,0,0,0,0,0,100,640,0]
["BE",648.6,6352,0,1150,117,1308,0,0,0,1157,658,0,5050.5,3298,2310]
["BG",0,718,168,933,600,2800,3895,2200,0,1579,350,0,2000,1250,0]
["CH",0,0,0,4593,4139,13580,0,1190,0,985,1300,0,5600,370,0]
["CY",0,660,0,0,0,0,0,0,1004.5,0,40,83,688,275,0]
["CZ",0,1379,251,1000,365,1050,4760,4055,0,1505,1167,0,3540,950,0]
["DEkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,336]
["DE",0,31013.163173005141,14727.099999999999,9791.6,4329,10787.5,9368.2000000000007,0,835.18999999999983,10321.130000000001,6631,0,66300,58500,14664]
["DKe",915,0,0,0,3.6999999999999998E-2,0,0,0,536,28.3,240.07,0,992.15523482116043,975,429]
["DKkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",270,430,410,0,6.5712000000000002,0,0,0,281,70.8,460.33000000000004,0,1946.8447651788397,4621,1876]
["EE",0,0,0,0,10,0,0,0,656,150,126.65,0,100,1500,0]
["ES",0,24560,4660,8280,3850,19200,0,7117,0,8500,2550,2300,40000,31000,0]
["FI",685,1474,714,0,0,3200,0,4560,1300,450,2200,0,1200,2300,700]
["FR15",0,0,0,0,197,197,0,0,489,0,47,50,115,36,0]
["FR",0,11496,0,5500,13600,13500,0,37640,990,0,3591,0,31400,36300,7000]
["GB",0,30823,0,0,142,1553,0,5686,195,6040,8142,0,24494,16125,22182]
["GR03",0,0,0,0,0,0,0,0,228,0,0,50,150,1000,0]
["GR",0,6260,0,1289,275,4009,2251,0,0,0,450,190,3850,4900,300]
["HR",0,1300,700,300,500,2300,0,0,0,200,400,100,200,1500,0]
["HU",0,3179,108,0,60,0,0,4248,410,355,410,0,2000,1000,0]
["IE",0,3781,0,442,216,442,80,0,500,160,350,0,500,5500,700]
["IL00",0,16199,3400,0,0,0,0,0,1720,1200,320,3000,3600,2600,0]
["ITcn",0,1117.0999999999999,0,270.90000000000003,236.33327561127683,1187.5722877279836,0,0,0,448,1171.8227972651741,0,2953,292,0]
["ITcs",0,4086.5,1845,1186.2,502.44310964184444,2145.2915079485574,0,0,0,490,543.52758082724517,5,3754,3857,0]
["ITn",0,18067.170000000002,560,3560,4605.353795619284,11279.694095169312,0,0,0,2776,2644.3346096812757,0,10382,312,0]
["ITsar",0,0,966,217.8,46.659772845087474,423.4,0,0,0,687,101.14679135051573,50,1194,1305,110.5]
["ITsic",0,2763.6559999999999,0,496.89696969696973,19.65762792342991,658,0,0,354,503,79.782802047658492,75,1983,2364,195]
["ITs",0,6670.1379999999999,1815,0,226.88650633622478,761.91179720658295,0,0,0,881,712.23931882813065,100,4924,7445,349]
["LT",0,464,0,1125,138,1125,0,0,0,227,199,0,80,750,0]
["LUb",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["LUf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["LUg",0,0,0,0,34,0,0,0,0,90,51.3,0,200,200,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",0,1031,0,0,0,1619,0,0,0,150,295,0,10,300,150]
["ME",0,0,0,0,132,1139,450,0,0,0,39,0,30,250,0]
["MK",0,290,120,0,151,647,915,0,0,0,26,0,32,100,0]
["MT",0,375,0,0,0,0,0,0,210,0,0,0,277.27100000000002,0,0]
["NI",0,1150,0,100,0,100,0,0,150,26,96.6,0,400,1540,0]
["NL",0,7592.8,4608,0,38,0,0,486,0,3539,507,0,11439,6722.98,11500]
["NOm",0,0,0,83.6,0,5381.4,0,0,0,0,0,0,0,1529.3000000000002,0]
["NOn",0,195,0,1.3,0,5900.3999999999987,0,0,0,0,40.003,0,0,1105.9999999999998,0]
["NOs",0,240,0,1029.808,0,24535.100000000002,0,0,0,0,36.299999999999997,0,400,695.00000000000011,0]
["PL",0,5741,13771,1488,1033,1413,7405,3000,0,7276,1756,0,2430,9200,2250]
["PT",0,3727,0,4119.8999999999996,734.7,8466.2000000000007,0,0,0,1052,843,0,1816,5554,60]
["RO",0,3241.0959999999995,85,0,3290.5620671690804,3309.9157,3440.5,2630,0,0,500,0,2000,4200,0]
["RS",0,580,0,1260,2025,1763,5306,0,0,0,118,0,200,1068,0]
["SE1",0,0,0,0,0,5215,0,0,0,0,298,0,10,1410,0]
["SE2",0,0,0,0,0,8035,0,0,0,0,622,0,80,4780,0]
["SE3",0,0,80,0,0,2586,0,6852,0,390,2564,0,1200,3020,0]
["SE4",330,0,0,0,0,348,0,0,0,0,719,0,450,1570,190]
["SI",0,395,50,600,1500,600,539,696,0,159,67,0,320,80,0]
["SK",0,241.41,0,1486,974,2292,240.28,2890,0,898.60599999999999,505.19690000000003,0,716,264.5,0]
["TN00",0,16120,0,0,66,0,0,0,0,0,0,0,672,639,0]
["TR",0,29415,14116.5,0,11411,26625,15673.3,8400,673.80000000000007,500,1250,0,8000,20170,0]

{"sheet":"2040 DG","index":4,"n_rows":57,"n_cols":16,"rows_kept":57,"cut":false,"hidden":false,"merged":[]}
["Scenario","2040 DG"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
[" IS00",0,0,0,0,0,2561,0,0,0,0,1380,0,0,460,0]
["AL",0,700,0,0,468,2402,0,0,0,0,0,0,3129.1334638564499,1560,0]
["AT",0,3928,0,6055.3329999999996,4671.89977,10842.850999999999,0,0,174,984,620,0,17788,5500,0]
["BA",0,0,0,440,1144,1120,1708,0,0,0,0,0,5802.8376820712501,3196,0]
["BE",648.6,5509,0,1150,117,1308,0,0,0,1710,658,0,14881.1010382522,12253.114300956,3333.2187120789599]
["BG",0,718,0,933,600,2800,2832,2200,0,1579,350,0,9286.1312002607792,1500,0]
["CH",0,0,0,4593,4139,13580,0,0,0,985,1300,0,19320,2590,0]
["CY",0,660,0,0,0,0,0,0,529.5,0,40,83,1840,1576.96054363093,0]
["CZ",0,995,0,1000,365,1050,3852,2137,0,1505,1167,0,15933.237391495601,1330,0]
["DEkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,300]
["DE",0,27767.85117300514,8800.5,9791.6,4329,10787.5,9025.4000000000015,0,223.6,10321.130000000001,6631,0,140412.44976360301,66249.071042279116,25688]
["DKe",915,0,0,0,3.6999999999999998E-2,0,0,0,56,28.3,240.07,0,3634.8157473329102,1797.7795723942199,700.27733287715]
["DKkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",270,0,0,0,6.5712000000000002,0,0,0,281,70.8,460.33000000000004,0,3775.4332781656399,7201,2300]
["EE",0,0,0,0,10,0,0,0,656,150,126.65,0,2365,1600,0]
["ES",0,24560,0,8280,3850,19200,0,3100,0,8500,2550,2300,66905.893629589205,35872.504895929502,0]
["FI",685,2274,374,0,0,3200,0,3680,1300,450,2200,0,5750.0723026349397,7300,900]
["FR",0,8892,0,5500,13600,13500,0,37640,990,0,3591,0,74060.292867070501,54053.161412254594,11686]
["GB",0,30823,0,0,142,1553,0,5686,195,6040,8142,0,70748.102648659406,18913.939680477401,27300]
["GR",0,5710,0,1289,275,4009,1359,0,0,0,450,240,20247,15694,1043]
["HR",0,1000,500,300,500,2300,0,0,0,200,400,100,7542,2000,0]
["HU",0,1533.4,44.1,0,60,0,0,2360,0,355,410,0,9161.8073809796206,2000,0]
["IE",0,3700,0,442,216,442,80,0,100,160,350,0,6500.6689611007096,6500,1400]
["ITcn",0,1117.0999999999999,0,270.90000000000003,236.33327561127683,1187.5722877279836,0,0,0,448,1171.8227972651741,0,12288,334,0]
["ITcs",0,4086.5,1845,1186.2,502.44310964184444,2145.2915079485574,0,0,0,490,543.52758082724517,5,17545,4404,0]
["ITn",0,16891.97,560,3560,4605.353795619284,11279.694095169312,0,0,0,2776,2644.3346096812757,0,65795,356,0]
["ITsar",0,0,250,217.8,46.659772845087474,423.4,0,0,0,687,101.14679135051573,50,3147,1490,337]
["ITsic",0,2763.6559999999999,0,496.89696969696973,19.65762792342991,658,0,0,0,503,79.782802047658492,75,6931,2700,368.65272347504902]
["ITs",0,56623.7,0,0,226.88650633622478,761.91179720658295,0,0,0,881,712.23931882813065,100,11395,8502,1048]
["LT",0,464,0,950,138,1125,0,0,0,227,199,0,5010,1000,142.52530865664801]
["LUb",0,0,0,0,0,0,0,0,0,0,0,0,28.004481401537099,33,0]
["LUf",0,0,0,0,0,0,0,0,0,0,0,0,136.740631843443,161,0]
["LUg",0,0,0,0,34,0,0,0,0,90,51.3,0,579.78027901619703,234.22692075739801,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",0,1031,0,0,0,1619,0,0,0,150,295,0,3384,800,449.67088390830202]
["ME",0,0,0,0,132,1139,450,0,0,0,39,0,1146.6680922397099,2097,0]
["MK",0,0,120,0,151,647,505,0,0,0,26,0,2503.6677237418899,150,0]
["MT",0,375,0,0,0,0,0,0,210,0,0,0,846,0,0]
["NI",0,900,0,100,0,100,0,0,0,26,96.6,0,2443.9542604489502,1779.5884453634701,0]
["NL",0,7592.8,4608,0,38,0,0,0,0,3539,507,0,17772.451963065101,8437.6083158602705,14728]
["NOm",0,0,0,83.6,0,5381.4,0,0,0,0,0,0,1142.1665663879101,3451.4713737116799,0]
["NOn",0,0,0,1.3,0,5900.3999999999987,0,0,0,0,40.003,0,944.41285765723899,1813.7812886742699,0]
["NOs",0,0,0,1029.808,0,24535.100000000002,0,0,0,0,36.299999999999997,0,4246.6446860502701,1568.9076841997348,0]
["PL",0,5981,8325.7000000000007,1488,1033,1413,1936.3,3000,4000,7276,1756,0,63212.472741068297,12632,4907.2102124250796]
["PT",0,1332,0,4119.8999999999996,734.7,8466.2000000000007,0,0,0,1052,843,0,14323.9851851642,9517.6603325321103,100]
["RO",0,2135.241,0,0,3290.5620671690804,3309.9157,2644,2630,0,0,500,0,16480.666731844001,6500,0]
["RS",0,580,0,1260,2025,1763,4735,0,0,0,118,0,7832.1150772610499,1200,0]
["SE1",0,0,0,0,0,5215,0,0,0,0,298,0,814.86174204501799,2123.5774933782,0]
["SE2",0,0,0,0,0,8035,0,0,0,0,622,0,1392.70251599269,6068.6065832581298,0]
["SE3",0,0,0,0,0,2586,0,3682,0,390,2564,0,7123.7060618499199,4347.6906974868098,0]
["SE4",330,0,0,0,0,348,0,0,0,0,719,0,1981.16836782058,1820.58197497895,200]
["SI",0,395,50,600,1500,600,539,696,0,159,67,0,4006,312,0]
["SK",0,241.41,0,1486,974,2292,0,2890,0,898.60599999999999,505.19690000000003,0,8064.67753864939,326,0]
["TR",0,15709.4,11942.6,0,11411,26625,8711.5,8400,673.80000000000007,500,1250,0,92925.175141379397,52996,0]

{"sheet":"2040 GCA","index":5,"n_rows":57,"n_cols":16,"rows_kept":57,"cut":false,"hidden":false,"merged":[]}
["Scenario","2040 GCA"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
[" IS00",0,0,0,0,0,2561,0,0,0,0,1380,0,0,460,0]
["AL",0,700,0,0,468,2402,0,0,310,0,0,0,4486.2275449101799,2970.1549641464899,0]
["AT",0,2969,0,6055.3329999999996,4671.89977,10842.850999999999,0,0,174,984,620,0,5600,5500,0]
["BA",0,0,0,440,1144,1120,1293,0,65,0,0,0,800,1200,0]
["BE",648.6,4955.8999999999996,0,1908,117,2066,0,0,0,1710,658,0,22000,7700,8300]
["BG",0,718,168,933,600,2800,0,2200,1175,1579,350,0,2500,1500,0]
["CH",0,0,0,6722,4139,15709,0,0,0,985,1300,0,12600,2590,0]
["CY",0,660,0,0,0,0,0,0,650,0,40,121.3639865,3485,1500,0]
["CZ",0,995,251,1145,365,1195,1297,3277,180,1505,1167,0,5230,1330,0]
["DEkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,300]
["DE",0,30459.770173005138,8328.6,10244,4329,10864,0,0,223.6,10321.130000000001,6631,0,141000,81550,33500]
["DKe",915,0,0,0,3.6999999999999998E-2,0,0,0,56,28.3,240.07,0,2532,1330,1886]
["DKkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",270,0,0,0,6.5712000000000002,0,0,0,281,70.8,460.33000000000004,0,4921.1552350000002,5850,5321]
["EE",0,0,0,0,10,0,0,0,656,150,126.65,0,1000,1600,300]
["ES",0,24560,0,10150,3850,21070,0,3100,0,8500,2550,3363.098422,77000,47590,3408.0728023275001]
["FI",685,3604,374,200,0,3400,0,3680,1300,450,2200,0,6000,7300,1000]
["FR",0,8892,0,5500,13600,13500,0,37640,990,0,3591,0,60000,49050,20000]
["GB",0,30440,0,6798,142,8351,0,5686,195,6040,8142,0,37500,17700,28330.813429470101]
["GR",0,5710,0,1629,275,4349,1070,0,0,0,450,350.9320093,16850,7700,2800]
["HR",0,1000,500,900,500,2900,0,0,0,200,400,146.22167049999999,700,2000,0]
["HU",0,1533.4,44.1,0,60,0,0,2360,0,355,410,0,4000,2000,0]
["IE",0,3700,0,592,216,592,80,0,100,160,350,0,2000,6500,2200]
["ITcn",0,1117.0999999999999,0,270.90000000000003,236.33327561127683,1187.5722877279836,0,0,1473,448,1171.8227972651741,0,6835,334,0]
["ITcs",0,4086.5,1845,1186.2,502.44310964184444,2145.2915079485574,0,0,0,490,543.52758082724517,7.3110835270000001,8688,4404,0]
["ITn",0,16891.97,1820,3560,4605.353795619284,11279.694095169312,0,0,1465,2776,2644.3346096812757,0,24000,356,0]
["ITsar",0,0,489,217.8,46.659772845087474,423.4,0,0,255,687,101.14679135051573,73.110835269999995,2764,1490,1537]
["ITsic",0,2763.6559999999999,0,496.89696969696973,19.65762792342991,658,0,0,144,503,79.782802047658492,109.6662529,4589,2699.07702889028,4594]
["ITs",0,5874.5,605,0,226.88650633622478,761.91179720658295,0,0,0,881,712.23931882813065,146.22167049999999,11395,8502,5305.6737588652504]
["LT",0,464,0,1125,138,1125,0,0,0,227,199,0,6983,1000,400]
["LUb",0,0,0,0,0,0,0,0,0,0,0,0,139,0,0]
["LUf",0,0,0,0,0,0,0,0,0,0,0,0,675,0,0]
["LUg",0,0,0,0,34,0,0,0,0,90,51.3,0,260,250,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",0,1031,0,0,0,1619,0,0,0,150,295,0,30,800,500]
["ME",0,0,0,0,132,1139,0,0,558,0,39,0,4836.0058309037904,3944.7321528009802,0]
["MK",0,60,120,347,151,994,300,0,341,0,26,0,32,150,0]
["MT",0,375,0,0,0,0,0,0,210,0,0,0,1285.5769230769199,0,0]
["NI",0,900,0,400,0,400,0,0,0,26,96.6,0,1500,2200,0]
["NL",0,7592.8,3358,2500,38,2500,0,0,0,3539,507,0,46000,7400,23433]
["NOm",0,0,0,83.6,0,5381.4,0,0,0,0,0,0,0,3695,200]
["NOn",0,0,0,1.3,0,5900.3999999999987,0,0,0,0,40.003,0,0,2228,0]
["NOs",0,0,0,1029.808,0,24535.100000000002,0,0,0,0,36.299999999999997,0,3000,4113,200]
["PL",0,2741,8325.7000000000007,2292,1033,2217,1936.3,7500,3945,7276,1756,0,42507,32927,7000]
["PT",0,1332,0,4119.8999999999996,734.7,8466.2000000000007,0,0,0,1052,843,0,17572,10000,2580]
["RO",0,3241.0959999999995,0,970,3290.5620671690804,4279.9110000000001,0,2630,190,0,500,0,6000,8000,0]
["RS",0,580,0,1260,2025,1763,2222,0,755,0,118,0,450,1200,0]
["SE1",0,0,0,0,0,5215,0,0,0,0,298,0,52.574976865994699,2790,0]
["SE2",0,0,0,0,0,8035,0,0,0,0,622,0,410,8108.0000000000009,0]
["SE3",0,0,0,0,0,2586,0,3682,0,390,2614,0,4680,4670,0]
["SE4",0,0,0,0,0,348,0,0,0,0,719,0,1560,1850,1303.38258462413]
["SI",0,395,50,600,1500,600,0,1796,420,159,67,0,977,250,0]
["SK",0,0,0,1486,974,2292,0,2890,0,898.60599999999999,505.19690000000003,0,1533.123,326,0]
["TR",0,24398.799999999999,0,0,11411,26625,0,8400,673.80000000000007,500,1250,0,68094.499527118402,60296.167141918901,0]

{"sheet":"2040 ST","index":6,"n_rows":57,"n_cols":16,"rows_kept":57,"cut":false,"hidden":false,"merged":[]}
["Scenario","2040 ST"]
[]
["Country/Installed capacity (MW)","Biofuels","Gas","Hard coal","Hydro-pump","Hydro-run","Hydro-turbine","Lignite","Nuclear","Oil","Othernon-RES","Other RES","Solar-thermal","Solar-\nPV","Wind-\non-shore","Wind-\noff-shore"]
[" IS00",0,0,0,0,0,2561,0,0,0,0,1380,0,0,460,0]
["AL",0,700,0,0,468,2402,0,0,680,0,0,0,283.55310318135201,1560.0774820732499,0]
["AT",0,3634,0,6055.3329999999996,4671.89977,10842.850999999999,0,0,174,984,620,0,5600,5500,0]
["BA",0,0,0,440,1144,1120,1708,0,280,0,0,0,491.405071292618,900,0]
["BE",648.6,5108.8999999999996,0,1150,117,1308,0,0,2720,1710,658,0,5700.1621776421498,5000,3819.7955312998802]
["BG",0,718,0,933,600,2800,1888,2200,1050,1579,350,0,2500,1500,0]
["CH",0,0,0,4593,4139,13580,0,0,0,985,1300,0,9930.6788382747709,1000,0]
["CY",0,660,0,0,0,0,0,0,979.5,0,40,121.3639865,2092.62726740784,413.16443978613398,0]
["CZ",0,995,0,1000,365,1050,2083,2137,2560,1505,1167,0,5230,1330,0]
["DEkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,300]
["DE",0,30459.770173005138,8328.6,9791.6,4329,10787.5,4263.3,0,6073.6,10321.130000000001,6631,0,75002.133916344101,63694.384181307199,26345.813005538599]
["DKe",150,0,0,0,3.6999999999999998E-2,0,0,0,1566,28.3,240.07,0,1400.0398331050901,1793,743.07646436633297]
["DKkf",0,0,0,0,0,0,0,0,0,0,0,0,0,0,600]
["DKw",150,0,0,0,6.5712000000000002,0,0,0,981,70.8,460.33000000000004,0,2600.0739757665901,7201,3106.2790871181001]
["EE",0,0,0,0,10,0,0,0,1326,150,126.65,0,236.95273738316999,1600,0]
["ES",0,24560,0,8280,3850,19200,0,3100,0,8500,2550,3363.098422,51393.514195377102,39561.236023447796,0]
["FI",685,1854,374,0,0,3200,0,3680,4410,450,2200,0,2000.0569044358399,7300,900.00000000001]
["FR",0,8892,0,5500,13600,13500,0,37640,1340,0,3591,0,41401.177921821902,47951.897818466103,10500.0000000001]
["GB",0,30440,0,0,142,1553,0,5686,3965,6040,8142,0,30200.859256981199,17647.955482217301,27300.000000000298]
["GR",0,5710,0,1289,275,4009,1070,0,1220,0,450,350.9320093,14849.504202031099,11507.896279118,799.78025254248405]
["HR",0,1000,500,300,500,2300,0,0,110,200,400,146.22167049999999,700,2000,0]
["HU",0,1533.4,0,0,60,0,0,2360,990,355,410,0,4000,2000,0]
["IE",0,3700,0,442,216,442,80,0,630,160,350,0,900.025606996129,6421.2044594922199,1400.00000000002]
["ITcn",0,1117.0999999999999,0,270.90000000000003,236.33327561127683,1187.5722877279836,0,0,3690,448,1171.8227972651741,0,6835,334,0]
["ITcs",0,4086.5,1845,1186.2,502.44310964184444,2145.2915079485574,0,0,1410,490,543.52758082724517,7.3110835270000001,8688,4404,0]
["ITn",0,16891.97,0,3560,4605.353795619284,11279.694095169312,0,0,7960,2776,2644.3346096812757,0,24027,356,0]
["ITsar",0,0,966,217.8,46.659772845087474,423.4,0,0,130,687,101.14679135051573,73.110835269999995,2764,1490,222.41781421451401]
["ITsic",0,2763.6559999999999,0,496.89696969696973,19.65762792342991,658,0,0,860,503,79.782802047658492,109.6662529,4589,2700,200.00000000000199]
["ITs",0,5874.5,0,0,226.88650633622478,761.91179720658295,0,0,0,881,712.23931882813065,146.22167049999999,11238.0028735632,8502,1256]
["LT",0,464,0,1125,138,1125,0,0,640,227,199,0,193.05257570045001,1000,0]
["LUb",0,0,0,0,0,0,0,0,20,0,0,0,0,0,0]
["LUf",0,0,0,0,0,0,0,0,110,0,0,0,0,0,0]
["LUg",0,0,0,0,34,0,0,0,530,90,51.3,0,200.005690443584,227.849190498111,0]
["LUv",0,0,0,1026,0,1310,0,0,0,0,0,0,0,0,0]
["LV",0,1031,0,0,0,1619,0,0,70,150,295,0,22.824528765565599,800,391.80786518202501]
["ME",0,0,0,0,132,1139,250,0,1200,0,39,0,110.160705096718,2097.3660764004899,0]
["MK",0,60,120,0,151,647,505,0,1010,0,26,0,32,150,0]
["MT",0,375,0,0,0,0,0,0,300,0,0,0,792.788461538462,0,0]
["NI",0,900,0,100,0,100,0,0,650,26,96.6,0,449.75668961424702,1594.9443334867799,0]
["NL",0,7592.8,3358,0,38,0,0,0,2880,3539,507,0,15200.432473712401,7456.8825981199998,14728]
["NOm",0,0,0,83.6,0,5381.4,0,0,0,0,0,0,0,1529,0]
["NOn",0,195,0,1.3,0,5900.3999999999987,0,0,0,0,40.003,0,0,1106,0]
["NOs",0,240,0,1029.808,0,24535.100000000002,0,0,0,0,36.299999999999997,0,1200,1900,0]
["PL",0,16181,8325.7000000000007,1488,1033,1413,1936,3000,5340,7276,1756,0,5418.8961755638402,12000,5012.8445488116104]
["PT",0,1332,0,4119.8999999999996,734.7,8466.2000000000007,0,0,170,1052,843,0,4303.6851643053997,10000,100.00000000000099]
["RO",0,3241.0959999999995,0,0,3290.5620671690804,3309.9157,1642,2630,1100,0,500,0,5000,6500,0]
["RS",0,580,0,1260,2025,1763,3898,0,700,0,118,0,450,1200,0]
["SE1",0,0,0,0,0,5215,0,0,0,0,298,0,0.76321184432030698,2345.02146547333,0]
["SE2",0,0,0,0,0,8035,0,0,0,0,622,0,100.002845221792,6444.2819489419398,0]
["SE3",0,0,0,0,0,2586,0,3682,450,390,2564,0,1500.0426783268799,4670,0]
["SE4",330,0,0,0,0,348,0,0,1230,0,719,0,700.01991655254506,2278.9318067396198,200.00000000000199]
["SI",0,395,0,600,1500,600,0,696,680,159,67,0,360,312,0]
["SK",0,0,0,1486,974,2292,0,2890,770,898.60599999999999,505.19690000000003,0,1533.123,326,0]
["TR",0,15709.4,0,0,11411,26625,7881.5,8400,1033.8,500,1250,0,25442.4250825954,52305.197097005199,0]