**Proposals for maximum capacity thresholds for types A, B, C and D power-generating modules according to Art. 5 (3) of RfG**

MAVIR’s proposal for NRA approval

**Proposal**

MAVIR proposes for NRA approval the following maximum capacity thresholds for types A, B, C and D power-generating modules according to Art. 5 (3) of commission regulation (EU) 2016/631 of 14 April 2016 establishing a network code on requirements for grid connection of generators (RfG regulation):

|  |  |  |  |
| --- | --- | --- | --- |
| **Type** | **Voltage level of the connection point (network)** | **Maximum capacity thresholds for types A, B, C and D power-generating modules** | |
| **Pmax,min** | **Pmax,max** |
| **A** | < 110 kV | 0,8 kW | 200 kW |
| **B** | < 110 kV | 200 kW | 5 MW |
| **C** | < 110 kV | 5 MW | 25 MW |
| **D** | ≥ 110 kV, or  Pmax> Pmax,min,D | 25 MW |  |