## Innehåll
Innehåll
|  |  | DK | FIN | IS | N | S
Inledning
Nyckeltal
Installerad effekt
| S1 | Installerad effekt 31.12.2000 | x | x | x | x | x | x
| S2 | Normalårsproduktion av vattenkraft 2000, GWh | x | x | x | x | x | x
| S3 | Förändringar i installerad effekt 2000 | x | x | x | x | x | x
| S4 | Beslutade kraftstationer (större än 10 MW) | x | x | x | x | x | x
| S5 | Systembelastning 3:e onsdagen i januari och 3:e onsdagen i juli 2000 | x | x | x | x | x | x
Kartan
Samkörningsförbindelser
| S6 | Existerande samkörningsförbindelser mellan Nordel-länderna | x | x | x | x | x | x
| S7 | Existerande samkörningsförbindelser mellan Nordel och andra länder | x | x | x | x | x | x
| S8 | Beslutade samkörningsförbindelser | x | x | x | x | x | x
| S9 | Ledningslängder 110 - 400 kV i drift 31.12.2000 | x | x | x | x | x | x
Elproduktion
| S10 | Total elproduktion inom Nordel 2000 | x | x | x | x | x | x
| S11 | Elproduktion 2000, GWh | x | x | x | x | x | x
| S12 | Produktion per energislag samt nettoimport och -export 2000, TWh | x | x | x | x | x | x
| S13 | Månatlig produktion och bruttoförbrukning av el 1999-2000, GWh | x | x | x | x | x | x
Magasinsfyllnad
| S14 | Magasinsfyllnad 2000 | x | x | x | x | x | x
Kraftutbyte
| S15 | Kraftutbyte 2000, GWh | x | x | x | x | x | x
| S16 | Import och export 2000, GWh | x | x | x | x | x | x
| S17 | Kraftutbyte mellan Nordel-länderna 1963-2000, GWh | x | x | x | x | x | x
| S18 | Månatligt kraftutbyte mellan Nordel-länderna 2000, GWh | x | x | x | x | x | x
Förbrukning av el
| S19 | Nettoförbrukning av el 1998 fördelad på förbrukningskategorier | x | x | x | x | x | x
| S20 | Elförbrukning 2000, GWh | x | x | x | x | x | x
| S21 | Bruttoförbrukning 1991-2000, TWh | x | x | x | x | x | x
| S22 | Bruttoförbrukning per invånare 1991-2000, kWh | x | x | x | x | x | x
| S23 | Totalförbrukning 2000, GWh | x | x | x | x | x | x
Total energitillförsel
| S24 | Total energitillförsel 1991-2000, PJ | x | x | x | x | x | x
Prognoser
| S25 | Bruttoförbrukning av el 2000 och prognoser för 2001,2005 och 2010, TWh | x | x | x | x | x | x
| S26 | Effektbehov 2000 och prognoser för 2001, 2005 och 2010, MW | x | x | x | x | x | x
| S27 | Installerad effekt under 2000 och prognoser för 2001, 2005 och 2010, MW | x |  | x | x | x | x
Elpriser
| S28 | Spotpriser och omsättning på de nordiska elbörserna 2000 | x | x | x | x | x | x
Miljö
| S29 | Miljöinformation

## Nyckeltal
Key figures 2001
|  | Nordel | Denmark | Finland | Iceland | Norway | Sweden
Population | mill. | 24.3 | 5.4 | 5.2 | 0.3 | 4.5 | 8.9
Total consumption | TWh | 401.04 | 35.432 | 81.604 | 8.028 | 125.464 | 150.512
Maximum load (measured 3rd Wednesday in January) | GW | 64.6 | 6.1 | 11.5 | 0.9 | 21 | 25.1
Electricity generation | TWh | 395.357 | 36.009 | 71.645 | 8.028 | 121.872 | 157.803
Breakdown of electricity generation
Hydropower | % | 55 | 0 | 19 | 82 | 99 | 50
Nuclear Power | % | 23 | . | 31 | . | . | 44
Other thermal power | % | 20 | 88 | 50 | 0 | 1 | 6
Other renewable power | % | 2 | 12 | 0 | 18 | 0 | 0
. Data are nonexistent
0 Less than 0,5 %
Sjekk: (%%%%, avrund ved behov!) |  | 100 | 100 | 100 | 100 | 100 | 100
Hjelp
Prosentuell fordelning av elproduksjon:
Vannkraft |  | 55.475 | 0.075 | 18.546 | 81.888 | 99.269 | 49.716
Kjernekraft |  | 23.04 |  | 30.538 |  |  | 43.858
Øvrig varmekraft |  | 19.882 | 87.956 | 50.817 | 0.037 | 0.707 | 6.122
Øvrig fornybar kraft |  | 1.603 | 11.969 | 0.099 | 18.074 | 0.024 | 0.303
|  | 100 | 0 | 0 | 0 | 0 | 0
Produksjon |  | 395357 | 36009 | 71645 | 8028 | 121872 | 157803
Vannkraft |  | 219323 | 27 | 13287 | 6574 | 120981 | 78454
Kjernekraft |  | 91089 | . . | 21879 | . | . | 69210
Varmekraft |  | 78606 | 31672 | 36408 | 3 | 862 | 9661
Fornybar |  | 6339 | 4310 | 71 | 1451 | 29 | 478
395357
Sjekk |  | 0

## FiB
Key Figures 2001
|  |  | Denmark | Finland | Iceland | Norway | Sweden | Nordel
Installed capacity |  | MW | 12480 | 16827 | 1427 | 27893 | 31721 | 90348
Generation |  | GWh | 36009 | 71645 | 8028 | 121872 | 157803 | 395357
Imports |  | GWh | 8603 | 12790 | . | 10753 | 11167 | 43313
Exports |  | GWh | 9180 | 2831 | . | 7161 | 18458 | 37630
Total consumption |  | GWh | 35432 | 81604 | 8028 | 125464 | 150512 | 401040
Breakdown of electricity generation:
Hydropower |  | % | 0 | 19 | 82 | 99 | 50 | 55
Nuclear power |  | % | . | 31 | . | . | 44 | 23
Other thermal power |  | % | 88 | 50 | 0 | 1 | 6 | 20
Other renewable power |  | % | 12 | 0 | 18 | 0 | 0 | 2
. Data are nonexistent
0 Less than 0.5 %
Facts about the Nordic countries 2001
|  |  | Denmark | Finland | Iceland | Norway | Sweden | Nordel
Total area |  | 1,000 Sq. km | 43 | 338 | 103 | 324 | 450 | 1258
Average population |  | mill. inh. | 5.4 | 5.2 | 0.3 | 4.5 | 8.9 | 24.3
Gross Domestic Product
| Total 2001 1) | bill. USD | 161.2 | 119.7 | 8.7 | 162.7 | 229.2 | 681.5
| Per capita | USD | 29851.8519 | 23019.2308 | 29000 | 36155.5556 | 25752.809 | 28045.2675
Total Consumption
| Total 2001 1) | GWh | 35432 | 81604 | 8028 | 125464 | 150512 | 401040
| Per capita | kWh | 6561.4815 | 15693.0769 | 26760 | 27880.8889 | 16911.4607 | 16503.7037
1) Source: OECD
| check (breakdown) |  | 100 | 100 | 100 | 100 | 100 | 100

## S1,2
S1 | Installed capacity on 31 Dec. 2001, MW
|  | Denmark |  | Finland | Iceland | Norway | Sweden |  | Nordel
| Installed capacity, total 1) | 12480 |  | 16827 | 1427 | 27893 | 31721 |  | 90348
| Hydropower | 11 |  | 2948 | 1105 | 27571 | 16239 | 2) | 47874
| Nuclear power | . |  | 2640 | . | . | 9436 |  | 12076
| Other thermal power | 9983 |  | 11200 | 120 | 305 | 5753 | 8) | 27361
| - condensing power 3) |  |  | 3912 | . | 73 | 1023 |  | 5008
| - CHP, district heating | 9275 | 4)5) | 3712 | . | 12 | 2340 |  | 15339
| - CHP, industry | 438 | 6) | 2698 | . | 185 | 929 |  | 4250
| - gas turbines, etc. | 270 |  | 878 | 120 | 35 | 1461 | 8) | 2764
| Other renewable power | 2486 |  | 39 | 202 | 17 | 293 |  | 3037
| - wind power | 2486 |  | 39 | . | 17 | 293 |  | 2835
| - geothermal power | . |  | . | 202 | . | . |  | 202
| Commissioned in 2001 | 912 | 7) | 225 | 75 | 33 | 883 |  | 2128
| Decommissioned in 2001 | 372 | 7) | 20 | 1 | 2 | 56 |  | 451
1) | Refers to the sum of the rated net capacities of the individual power plant units in the power system,
and should not be considered to represent the total capacity available at any single time.
2) | Includes the Norwegian share of Linnvasselv (25 MW).
3) | Includes capacity conserved for an extended period, Finland (700 MW)
4) | Includes condensing power.
5) | Includes the German share of Enstedværket (313 MW) and long-time reserve of Vendsyssleværket (295 MW).
6) | Included industrial generated producer (apr. 37 MW).
7) | Inlcudes reclassification of power plants
8) | Includes capacity of power plants which are included in the agreement considering the power reserve in Sweden
S2 | Average-year generation of hydropower in 2001, GWh
|  | Denmark |  | Finland | Iceland | Norway | Sweden |  | Nordel
| Average-year generation 2001 | - |  | 12759 | 6580 | 118051 | 64000 |  | 201390
| Average-year generation 2000 | - |  | 12720 | 6380 | 117921 | 64000 |  | 201021
| Change | - |  | 39 | 200 | 130 | 0 |  | 369
| Reference period | - |  | 1961-90 | 1950-95 | 1970-99 | 1950-90

## S3
S3 | Changes in installed capacity in 2001
| Power category | Power plant | Commissioned | Decommissioned |  | Change in average- | Type of fuel
year generation
(hydropower)
|  |  | MW | MW |  | GWh
Denmark East
| Condensing power | Avedøreværket blok 2 | 594 |  |  |  | Natural gas, biofuel
|  | Asnæsværket blok 5 | 10 |  |  |  | Coal / oil
|  | H.C. Ørstedværket blok 5 | 70
|  | Stigsnæsværket blok 2 |  | 4 |  |  | Coal / oil
| CHP, district heating | Decentral CHP | 69 | 18 |  |  | Natural gas, biofuel
| CHP, industry | Decentral CHP |  | 52 |  |  | Natural gas, biofuel
| Gas turbines | Kyndbyværket 41, 51-52 |  | 6 |  |  | Gasoil
| Wind power | Windmills | 23
Denmark West
| Condensing power | Fynsværketblok 3 |  | 3 | 1) |  | Natural gas
|  | Fynsværket blok 7 |  | 47 | 1) |  | Coal / oil
|  | Studstrupværket blok 3 |  | 30 | 1) |  | Coal / oil
|  | Studstrupværket blok4 |  | 30 | 1) |  | Coal / oil
|  | Vendsysselværket blok 2 |  | 10 | 1) |  | Coal / oil
|  | Vendsysselværket blok 3 |  | 39 | 1) |  | Coal / oil
|  | Enstedværket blok 3 |  | 58 | 1) |  | Coal / oil
|  | Enstedværket Biokedel | 40 |  |  |  | Straw / peat
|  | Esbjergværket blok 3 |  | 35 | 1) |  | Coal / oil
|  | Skærbækværket blok 3 |  | 25 | 1) |  | Natural gas
| CHP, district heating | Decentral CHP |  | 2 |  |  | Biofuel, peat
|  | Decentral CHP | 5 |  |  |  | Natural gas
|  | Decentral CHP |  | 1 |  |  | Other
|  | Industrial CPH | 3 |  |  |  | Natural gas
|  | Local CHP | 2 |  |  |  | Biofuel, peat
|  | Local CHP | 13 |  |  |  | Natural gas
|  | Local CHP | 1 |  |  |  | Other
| Gas turbines | Studstrupværket gasturbine |  | 12 | 1) |  | Oil / Gas Oil
| Wind power | Windmills | 82
Finland
| CHP, district heating | Ykspihlaja | 20 |  |  |  | Wood chips, waste wood
| CHP, industry | Jakobstad/Pietarsaari | 240 |  |  |  | Peat, waste wood
|  | Jämsänkoski |  | 20 |  |  | Peat
| Wind Power | Oulu 1 | 1
| Hydropower | Kelukoski | 10 |  |  | 39
Iceland
| Hydropower | Vatnsfell | 45 |  |  | 200
| Geothermal power | Nesjavellir | 30
| Gas turbines | Div. reservemaskiner |  | 1 |  |  | Oil
Norway
| Hydropower | Moelv | 1.2 |  |  | 6
|  | Svartkulp kr. Verk | 3.9 |  |  | 21
|  | Ovf. Kalklavdalsvatn | 0 |  |  | 17
|  | Kildalen ( rev. ) | 1.2 |  |  | 1.6
|  | Blåfalli V | 8.1 |  |  | 25
|  | Stadheim | 4.5 |  |  | 24.5
|  | Sage | 8.9 | 1.5 |  | 29.5
|  | Åsedøla | 1.5 |  |  | 5.5
| Wind Power | Mehuken, Vågsøy | 4
Sweden
| Hydropower | Höljebro | 39
|  | Boel | 1
|  | Various changes | 5 | 6
|  | Höljebro |  | 29
| Nuclear power | Various changes |  | 3
| Condensing power | Karlshamn G2 2) | 332 |  |  |  | Oil
|  | Aros G3 2) | 243 |  |  |  | Oil
| CHP, district heating | Högdalen | 46 |  |  |  | Waste / oil
|  | Ängelholm | 29 |  |  |  | Natural gas
|  | Hallsberg |  | 4
|  | Diverse endringer | 10 | 5
| CHP, industry | Munksund |  | 5 |  |  | Biofuel
|  | Karlsborg | 6 |  |  |  | Biofuel
|  | Various changes |  | 4
| Gas turbines | Lahall G3 2) | 60 |  |  |  | Oil
|  | Lahall G4 2) | 60 |  |  |  | Oil
| Wind power | Approx. 50 new aggregates. | 52
1) | Adjustment in accordance with the agreement about the minimum production capacity
2) | Included in the swedish power reserve plants which are conserved for an extended period of time.

## S4
S4 | Power plants (larger than 10 MW): decisions taken
| Power category | Power plant | Capacity | Estimated | Average-year | Type of fuel
|  |  |  | start-up | generation
(hydropower)
|  |  | MW | Year | GWh
Denmark - East
| Wind power | Rødsand | 150 | 2003
Denmark - West
| Wind power | Horns Rev | 160 | 2002
Finland
| CHP, industry | Äänekoski | 26 | 2002 |  | Peat, waste wood
|  | Kuusankoski | 55 | 2002 |  | Peat, waste wood
|  | Jämsänkoski | 46 | 2002 |  | Peat, waste wood
|  | Ristiina | 10 | 2003 |  | Peat
| CHP, district heating | Parkatti | 15 | 2002 |  | Peat, waste wood
|  | Savonlinna | 17 | 2003 |  | Peat, waste wood
| Hydropower | Valajaskoski | 28 | 2003 | 23
Iceland
Norway
| Hydropower | Bjølvo (net increase) | 15 | 2003 | 65
|  | Tyin (net increase) | 168 | 2004 | 230
| Wind power | Smøla | 40 | 2002
|  | Havøygavlen ( Måsøy ) | 40 | 2002
Sweden
| CHP, district heating | Härnösand | 12 | 2002 |  | Biofuel
|  | Kungsbacka | 1 | 2002 |  | Biofuel
|  | Hofors | 2 | 2002 |  | Biofuel
|  | Jämtkraft | 45 | 2002 |  | Biofuel
| CHP, industry | Katrinefors | 10 | 2002 |  | Biofuel
|  | Munksund | 25 | 2002 |  | Biofuel
| Gas turbines | Hallstavik | 120 | 2002/2003 |  | Oil
S5 | Maximum system load for each country in 2001 1)
|  | MWh/h | Date/time
| Denmark | 6229 | 02.05.01 at 10 - 11 AM |  | 2)
| Finland | 13310 | 02.05.01 at 08 - 09 AM
| Iceland | 989 | 12.28.01 at 06 - 07 PM
| Norway | 23054 | 02.05.01 at 09 - 10 AM
| Sweden | 26800 | 02.05.01 at 05 - 06 PM
1) | The system load is not corrected vs. temperatures.
2) | Denmark-East: 2657 MWh/h 02.05.01 at 05 - 06 PM,
Denmark-West: 3685 MWh/h 02.05.01 at 10 - 11 AM.

## S5
System load 3rd Wednesday in January and 3rd Wednesday in July 2000
| Average 24-hour load 3rd Wednesday | [5 empty] | Average 24-hour load 3rd Wednesday
| in January (1-17-01) | [5 empty] | in July (7-18-01)
| MWh / h | [5 empty] | MWh / h
| DK | FIN | IC | NO | SW |  | DK | FIN | IC | NO | SW
1 | 3681 | 10142 | 783 | 17793 | 20171 | 52570 | 2538 | 7410 | 741 | 9117 | 11029 | 30835
2 | 3514 | 9786 | 772 | 17605 | 19863 | 51540 | 2380 | 7064 | 731 | 8789 | 10727 | 29691
3 | 3463 | 9525 | 768 | 17439 | 19710 | 50905 | 2331 | 6781 | 729 | 8655 | 10572 | 29068
4 | 3469 | 9390 | 764 | 17453 | 19808 | 50884 | 2322 | 6721 | 726 | 8642 | 10498 | 28909
5 | 3539 | 9410 | 764 | 17628 | 20064 | 51405 | 2306 | 6611 | 719 | 8565 | 10284 | 28485
6 | 3828 | 9734 | 766 | 18040 | 21075 | 53443 | 2372 | 6664 | 721 | 8458 | 10366 | 28581
7 | 4639 | 10579 | 777 | 19058 | 22887 | 57940 | 2717 | 7153 | 730 | 9000 | 11184 | 30784
8 | 5662 | 11012 | 822 | 20618 | 24765 | 62879 | 3238 | 7997 | 759 | 9924 | 12198 | 34116
9 | 5961 | 11351 | 870 | 21360 | 25033 | 64575 | 3620 | 8410 | 783 | 10495 | 12982 | 36290
10 | 5888 | 11105 | 895 | 21240 | 24807 | 63935 | 3827 | 8490 | 811 | 10782 | 13494 | 37404
11 | 5731 | 11017 | 901 | 21278 | 24858 | 63785 | 3928 | 8575 | 822 | 10880 | 13898 | 38103
12 | 5869 | 11064 | 900 | 21163 | 24803 | 63799 | 3905 | 8694 | 827 | 10898 | 13997 | 38321
13 | 5702 | 11044 | 892 | 21039 | 24580 | 63257 | 3821 | 8695 | 824 | 10832 | 13958 | 38130
14 | 5725 | 11002 | 889 | 20939 | 24518 | 63073 | 3784 | 8682 | 822 | 10841 | 13865 | 37994
15 | 5640 | 10956 | 873 | 20846 | 24532 | 62847 | 3681 | 8608 | 827 | 10543 | 13687 | 37346
16 | 5404 | 11015 | 867 | 20805 | 24891 | 62982 | 3529 | 8592 | 825 | 10452 | 13580 | 36978
17 | 5602 | 11267 | 861 | 20863 | 25123 | 63716 | 3454 | 8499 | 822 | 10361 | 13403 | 36539
18 | 6126 | 11515 | 869 | 21019 | 25078 | 64607 | 3612 | 8439 | 804 | 10278 | 13412 | 36545
19 | 5858 | 11446 | 859 | 20875 | 24611 | 63649 | 3533 | 8261 | 806 | 10228 | 13227 | 36055
20 | 5486 | 11551 | 852 | 20618 | 24232 | 62739 | 3258 | 8190 | 795 | 10241 | 12927 | 35411
21 | 5082 | 11378 | 866 | 20444 | 23634 | 61404 | 3058 | 8081 | 785 | 10035 | 12648 | 34607
22 | 4772 | 10901 | 840 | 20147 | 22931 | 59591 | 2971 | 7990 | 787 | 9992 | 12469 | 34209
23 | 4418 | 11367 | 829 | 19300 | 21911 | 57825 | 2988 | 8042 | 773 | 9881 | 12345 | 34029
24 | 3945 | 10799 | 805 | 18573 | 20794 | 54916 | 2768 | 7893 | 776 | 9688 | 11770 | 32895
check | 119004 | 248214 | 19279 | 476143 | 1970-99 | 64607 | 75941 | 183132 | 17969 | 237577 | 298520 | 28485
All hours are local time
|  |  |  | Maximum system load |  |  | Minimum system load
|  |  |  | 3rd Wednesday in Jan 2001 |  |  | 3rd Wednesday in July 2001
|  |  |  | 5:00 - 6:00 PM |  |  | 12:00 - 01:00 PM
|  |  |  | GWh / h |  |  | GWh / h
Denmark |  |  |  | 6.1 |  |  | 3.8
Finland |  |  |  | 11.5 |  |  | 8.7
Iceland |  |  |  | 0.9 |  |  | 0.8
Norway |  |  |  | 21 |  |  | 10.8
Sweden |  |  |  | 25.1 |  |  | 14
Nordel |  |  |  | 64.6 |  |  | 38.1

## S6
S6 | Existing interconnections between the Nordel countries
Countries | Stations | Rated | Transmission capacity |  |  |  | Total length | Of which
|  | voltage | as per design rules 1) |  |  |  | of line | cable
|  | kV | MW |  |  |  | km | km
Denmark - Norway |  |  | From Denmark |  | To Denmark
| Tjele-Kristiansand | 250/350= | 1040 |  | 1040 |  | 240/pol | 127/pol
Denmark - Sweden |  |  | From Sweden |  | To Sweden
| Teglstrupgård - Mörarp 1 och 2 | 132~ | 350 | 2) | 350 | 2) | 23 | 10
| Hovegård - Söderåsen 1 | 400~ | 800 | 2) | 800 | 2) | 91 | 8
| Hovegård - Söderåsen 2 | 400~ | 800 | 2) | 800 | 2) | 91 | 8
| Vester Hassing - Göteborg | 250= | 290 |  | 270 |  | 176 | 88
| Vester Hassing - Lindome | 285= | 380 |  | 360 |  | 149 | 87
| Hasle (Bornholm) - Borrby | 60~ | 60 |  | 60 |  | 48 | 43
Finland - Norway |  |  | From Finland |  | To Finland
| Ivalo - Varangerbotn | 220~ | 100 |  | 70 |  | 228 | .
Finland - Sweden |  |  | From Sweden |  | To Sweden
| Ossauskoski - Kalix | 220~ |  |  |  |  | 93 | .
| Petäjäskoski - Letsi | 400~ | 1600 | 3) | 1200 | 3) | 230 | .
| Keminmaa - Svartbyn | 400~ |  |  |  |  | 134 | .
| Raumo - Forsmark | 400= | 550 |  | 550 |  | 235 | 198
| Senneby - Tingsbacka (Åland) | 110~ | 80 |  | 80 |  | 81 | 60
Norway - Sweden |  |  | From Sweden |  | To Sweden
| Sildvik - Tornehamn | 132~ | 50 |  | 120 |  | 39 | .
| Ofoten - Ritsem | 400~ | 700 |  | 1350 | 4) | 58 | .
| Røssåga - Ajaure | 220~ | 415 | 5) | 415 | 4, 5) | 117 | .
| Linnvasselv, transformator | 220/66~ | 50 |  | 50 |  | . | .
| Nea - Järpströmmen | 275~ | 700 | 5) | 700 | 5) | 100 | .
| Lutufallet - Höljes | 132~ | 40 |  | 20 |  | 18 | .
| Eidskog - Charlottenberg | 132~ | 100 |  | 100 |  | 13 | .
| Hasle - Borgvik | 400~ | 2000 | 5) | 2000 | 5, 6) | 106 | .
| Halden - Skogssäter | 400~ |  |  |  |  | 135 | .
1) | Maximum permissible transmission.
2) | Thermal limit. The total transmission capacity is 1775 MW to Denmark and 1700 MW to Sweden.
3) | In certain situations, the transmission capacity can be lower than the limit given here.
4) | Thermal limit. Stability problems and generation in nearby power plants may lower the limit.
5) | The transmission capacity can in certain situations be lower, owing to bottlenecks in the Norwegian and Swedish network.
6) | Requires a network protection system during operation (production disconnection).

## S7
S7 | Existing interconnections between the Nordel countries and other countries
Countries | Stations | Rated | Transmission capacity |  | Total length | Of which
|  | voltage |  |  | of line | cable
|  | kV | MW |  | km | km
Denmark - Germany |  |  | From Nordel | To Nordel
| Kassø - Audorf | 2 x 400~ |  |  | 107 | .
| Kassø - Flensburg | 220~ | 1200 | 1200 3) | 40 | .
| Ensted - Flensburg | 220~ |  |  | 34 | .
| Ensted - Flensburg | 150= | 150 | 150 | 26 | 5
| Bjæverskov - Rostock | 400= | 600 | 600 | 166 | 166
Finland - Russia |  |  | From Nordel | To Nordel
| Imatra - GES 10 | 110~ | . | 100 | 20 | .
| Yllikkälä - Viborg 2) | 2 x 400~ | . | 1000 | 67 | .
| Nellimö - Kaitakoski | 110~ | 60 | 60 | 50 | .
Norway - Russia |  |  | From Nordel | To Nordel
| Kirkenes - Boris Gleb | 154~ | 50 | 50 | 10 | .
Sweden - Germany |  |  | From Nordel | To Nordel
| Västra Kärrstorp - Herrenwyk | 450= | 600 1) | 600 1) | 269 | 257
Sweden - Poland |  |  | From Nordel | To Nordel
| Stärnö - Slupsk | 450= | 600 | 600 | 256 | 256
1) | The transmission capacity is currently limited to 460 MW from Nordel and 390 MW to Nordel
due to limitaion in the German network.
2) | Back to Back HVDC ( +85 kV = ) in Viborg.
3) | The transmission capacity is limited to 800 MW due to internal restrictions in Denmark West.

## S8
S8 | Interconnections: decisions taken
Countries | Stations | Rated | Transmission capacity | Total length | Of which | Estimated
|  | voltage | as per design rules | of line | cable | commissioning
|  | kV | MW | km | km | Year
Denmark - Denmark
(Storebælt/The Great Belt)
| Eltra - Elkraft System | 400= | 300 | ca 70 | ca 70 | 1)
Finland - Russia
| Kymi - Viborg | 400~ | 400 | 132 |  | 2003
1) | According to plans, the Great Belt connection will be in operation in 2004. The capacity will be 300 MW.
This appears in Energistyrelens letter dated October 27 2000 to the System Operaters in Denmark
}

## S9
S9 | Transmission lines of 110-400 kV in service on 31 Dec. 2001
|  | 400 kV, AC og DC |  | 220-300 kV, AC og DC |  | 110, 132, 150 kV
|  | km |  | km |  | km
| Denmark | 1346 | 1) | 504 | 2) | 3954 | 3)
| Finland | 3926 | 4) | 2400 |  | 15200
| Iceland | 94 | 6) | 514 |  | 1315
| Norway | 2144 |  | 5639 | 2) | 10470
| Sweden | 11063 | 5) | 4602 | 2) | 15000
| 1) | Of which 2 km in service with 150 kV and 46 km with 132 kV.
| 2) | Of which 80 km in Denmark and 96 km in Sweden (KontiSkan),
89 km in Denmark and 382 km in Norway (Skagerrak) in service with 250 kV DC, and
75 km in Denmark and 74 km in Sweden (KontiSkan 2) in service with 285 kV DC.
| 3) | Of which 13 km in service with 60 kV and 118 km with 50 kV.
| 4) | Of which 99 km submarine cabel ( DC ) and 34 km land cabel ( DC ) in Finland (Fenno-Skan)
| 5) | Of which 99 km submarine cabel ( DC ) and 2 km land cabel ( DC ) in Sweden (Fenno-Skan).
Also 38 km submarine cabel ( DC ) in Sweden, 182 km in international water and 22 km in Poland,
+ 2 km land cabel ( DC ) in Sweden and 12 km in Poland ( SwePol Link )
| 6) | At present in service with 220 kV.

## S10,11
S10 | Total electricity generation within Nordel 2001
| Hydropower | 55.5%
| Nuclear power | 23%
| Other thermal power | 19.9%
| Other renewable power | 1.6%
100%
S11 | Electricity generation 2001, GWh
|  | Denmark |  | Finland | Iceland | Norway |  | Sweden | Nordel
| Total generation | 36009 |  | 71645 | 8028 | 121872 | 3) | 157803 | 395357
| Hydropower | 27 |  | 13287 | 6574 | 120981 |  | 78454 | 219323
| Nuclear power | . . |  | 21879 | . | . |  | 69210 | 91089
| Other thermal power | 31672 |  | 36408 | 3 | 862 |  | 9661 | 78606
| - condensing power | . |  | 10529 | . | 186 |  | 485 | 11200
| - CHP, district heating | 29517 | 1) | 14409 | . | . |  | 4773 | 48699
| - CHP, industry | 2155 |  | 11465 | . | 394 |  | 4392 | 18406
| - gas turbines, etc. | - |  | 5 | 3 | 282 |  | 11 | 301
| Other renewable power 2) | 4310 |  | 71 | 1451 | 29 |  | 478 | 6339
| Total generation 2000 | 34230 |  | 67190 | 7678 | 142847 | 3) | 141894 | 393839
| Change as against 2000 | 5.197% |  | 6.63% | 4.558% | -14.68% |  | 11.21% | 0.3854%
1) | Includes generation in combined heat and power stations.
2) | Wind power and for Iceland, geothermal power.
3) | Gross production

## S12
S12 | Total electricity generation by energy source, and net imports and exports 2001, TWh
|  | Denmark | Finland | Iceland | Norway | Sweden
| Net imports |  | 9.959
| Geothermal power |  |  | 1.451
| Wind power | 4.31 | 0.071 |  | 0.029 | 0.478
| Other 1)2) | 3.2 | 0.7 |  | 0.6 | 0.3
| Biofuel | 1.9 | 9 |  |  | 3.7
| Natural gas | 9 | 9 |  | 0.3 | 1
| Oil | 0.5 | 1.5 |  |  | 2.5
| Coal 3) | 17.1 | 16.1 |  |  | 2.1
| Nuclear power |  | 21.879 |  |  | 69.21
| Hydropower | 0.027 | 13.287 | 6.574 | 120.981 | 78.454
| Net exports (negative value) | -0.577 |  |  | 3.592 | -7.291
| kontrollsum 1 (prod) | 36.037 | 71.537 | 8.025 | 121.91 | 157.742 | 395.251
| kontrollsum 2 (totforbr) | 35.46 | 81.496 | 8.025 | 125.502 | 150.451 | 400.934
1) In Denmark orimulsion and refinery gas.
2) In Finland blast furnace gas
3) Included 5.4 TWh wood chips for Finland (previous defined as biofuel)

## S13
S13 | Monthly generation and total consumption of electricity 2000-2001, GWh
|  | Denmark | [5 empty] | Finland | [6 empty] | Iceland | [5 empty] | Norway | [6 empty] | Sweden
|  | Hydro- | Nuclear power | Other thermal | Wind power or | Netimp | Total | Hydro- | Nuclear | Other thermal | Wind power or | Elektro | Netimp | Total | Hydro- | Nuclear | Other thermal | Wind power or | Elektro | Total | Hydro- | Nuclear | Other thermal | Wind power or | Elektro ok | Netimp | Total | Hydro- | Nuclear | Other thermal | Wind power or | Netimp | Total
|  | power |  | power | geothermal |  | consumption | power | power | power | geothermal | ok |  | consumption | power | power | power | geothermal |  | consumption | power | power | power | geothermal |  | ok | consumption | power | power | power | geothermal |  | consumption
[5 empty] | power | [5 empty] | power | [6 empty] | power | [5 empty] | power | [6 empty] | power
| 2000-01-01 | 3 | 0 | 3442 | 510 | -630 | 3325 | 1204 | 1974 | 3791 | 11 |  | 705 | 7685 | 558 | 0 | 1 | 122 |  | 681 | 13202 | 0 | 71 | 4 |  | -549 | 12728 | 6176 | 6815 | 1324 | 59 | 556 | 14930
| 2000-02-01 | 4 | 0 | 3046 | 508 | -478 | 3080 | 1193 | 1868 | 3142 | 8 |  | 944 | 7155 | 533 | 0 | 0 | 113 |  | 646 | 12427 | 0 | 64 | 4 |  | -596 | 11899 | 6150 | 6477 | 1200 | 54 | 42 | 13923
| 2000-03-01 | 4 | 0 | 3058 | 435 | -321 | 3176 | 1272 | 1992 | 3111 | 9 |  | 1011 | 7395 | 576 | 0 | 0 | 121 |  | 697 | 13847 | 0 | 65 | 3 |  | -1588 | 12327 | 6058 | 6287 | 1166 | 50 | 673 | 14234
| 2000-04-01 | 2 | 0 | 2552 | 198 | -39 | 2713 | 1183 | 1852 | 2258 | 5 |  | 572 | 5870 | 503 | 0 | 0 | 121 |  | 624 | 11545 | 0 | 74 | 2 |  | -1215 | 10406 | 5518 | 5050 | 780 | 22 | 546 | 11916
| 2000-05-01 | 2 | 0 | 2239 | 234 | 257 | 2732 | 1483 | 1418 | 2445 | 6 |  | 900 | 6252 | 508 | 0 | 0 | 107 |  | 615 | 11250 | 0 | 55 | 1 |  | -2190 | 9116 | 6418 | 3139 | 530 | 27 | 776 | 10890
| 2000-06-01 | 2 | 0 | 1966 | 331 | 274 | 2573 | 1392 | 1729 | 1522 | 5 |  | 783 | 5431 | 473 | 0 | 1 | 111 |  | 585 | 10746 | 0 | 42 | 1 |  | -2321 | 8468 | 5624 | 2867 | 424 | 34 | 1063 | 10012
| 2000-07-01 | 1 | 0 | 1651 | 217 | 557 | 2426 | 1285 | 1734 | 1502 | 3 |  | 1201 | 5725 | 491 | 0 | 0 | 111 |  | 602 | 10050 | 0 | 44 | 2 |  | -2056 | 8040 | 7231 | 2000 | 342 | 20 | -234 | 9359
| 2000-08-01 | 1 | 0 | 1886 | 253 | 651 | 2791 | 1051 | 1477 | 2019 | 4 |  | 1547 | 6098 | 498 | 0 | 1 | 92 |  | 591 | 10724 | 0 | 57 | 2 |  | -2342 | 8441 | 7642 | 2427 | 347 | 22 | 10 | 10448
| 2000-09-01 | 2 | 0 | 2126 | 355 | 289 | 2772 | 829 | 1663 | 2340 | 6 |  | 1496 | 6334 | 528 | 0 | 0 | 73 |  | 601 | 11108 | 0 | 55 | 2 |  | -2312 | 8853 | 6224 | 3877 | 429 | 30 | 518 | 11078
| 2000-10-01 | 2 | 0 | 2335 | 406 | 242 | 2985 | 865 | 1962 | 2764 | 8 |  | 1243 | 6842 | 542 | 0 | 0 | 115 |  | 657 | 11799 | 0 | 43 | 3 |  | -1856 | 9989 | 6120 | 5039 | 543 | 44 | 405 | 12151
| 2000-11-01 | 3 | 0 | 2672 | 427 | 7 | 3109 | 1226 | 1926 | 3107 | 7 |  | 813 | 7079 | 556 | 0 | 0 | 115 |  | 671 | 12056 | 0 | 44 | 3 |  | -996 | 11107 | 7063 | 5222 | 824 | 40 | 12 | 13161
| 2000-12-01 | 4 | 0 | 2984 | 369 | -143 | 3214 | 1377 | 1978 | 3177 | 7 |  | 666 | 7205 | 586 | 0 | 1 | 121 |  | 708 | 13380 | 0 | 69 | 2 |  | -1002 | 12449 | 7621 | 5557 | 945 | 36 | 320 | 14479
| 2001-01-01 | 3 | 0 | 3389 | 323 | -330 | 3385 | 1442 | 2005 | 3677 | 6 |  | 793 | 7923 | 568 | 0 | 1 | 124 |  | 693 | 13953 | 0 | 69 | 3 |  | -420 | 13605 | 7817 | 6669 | 1161 | 35 | 8 | 15690
| 2001-02-01 | 3 | 0 | 3115 | 455 | -513 | 3060 | 1250 | 1791 | 3715 | 6 |  | 712 | 7474 | 538 | 0 | 0 | 112 |  | 650 | 12438 | 0 | 71 | 3 |  | 151 | 12663 | 7041 | 6273 | 1130 | 49 | 63 | 14556
| 2001-03-01 | 3 | 0 | 3511 | 390 | -618 | 3286 | 1249 | 1952 | 3957 | 5 |  | 638 | 7801 | 596 | 0 | 0 | 125 |  | 721 | 11863 | 0 | 73 | 1 |  | 1099 | 13036 | 7285 | 6624 | 1198 | 31 | -88 | 15050
| 2001-04-01 | 2 | 0 | 3044 | 304 | -498 | 2852 | 1059 | 1910 | 3279 | 6 |  | 334 | 6588 | 529 | 0 | 0 | 109 |  | 638 | 9226 | 0 | 73 | 2 |  | 1398 | 10699 | 5608 | 5958 | 927 | 32 | -129 | 12396
| 2001-05-01 | 2 | 0 | 2196 | 313 | 232 | 2743 | 1497 | 1456 | 2856 | 6 |  | 533 | 6348 | 535 | 0 | 0 | 93 |  | 628 | 7856 | 0 | 72 | 2 |  | 1216 | 9146 | 6109 | 5521 | 536 | 36 | -1093 | 11109
| 2001-06-01 | 2 | 0 | 1788 | 294 | 517 | 2601 | 1256 | 1861 | 2306 | 4 |  | -57 | 5370 | 508 | 0 | 0 | 106 |  | 614 | 7551 | 0 | 65 | 2 |  | 486 | 8104 | 5104 | 4206 | 474 | 27 | 106 | 9917
| 2001-07-01 | 1 | 0 | 1719 | 213 | 522 | 2455 | 928 | 1878 | 1926 | 5 |  | 977 | 5714 | 528 | 0 | 0 | 123 |  | 651 | 6824 | 0 | 82 | 2 |  | 693 | 7601 | 5681 | 4291 | 420 | 25 | -1362 | 9055
| 2001-08-01 | 1 | 0 | 1775 | 319 | 687 | 2782 | 849 | 1603 | 2291 | 5 |  | 1235 | 5983 | 518 | 0 | 0 | 132 |  | 650 | 7814 | 0 | 71 | 2 |  | 126 | 8013 | 6465 | 4631 | 400 | 37 | -1362 | 10171
| 2001-09-01 | 2 | 0 | 2089 | 294 | 381 | 2766 | 812 | 1587 | 2371 | 5 |  | 1441 | 6216 | 536 | 0 | 0 | 117 |  | 653 | 7635 | 0 | 62 | 1 |  | 678 | 8376 | 7371 | 5636 | 421 | 33 | -2529 | 10932
| 2001-10-01 | 3 | 0 | 2179 | 524 | 319 | 3025 | 939 | 1964 | 2811 | 7 |  | 1223 | 6944 | 559 | 0 | 0 | 128 |  | 687 | 9871 | 0 | 73 | 3 |  | 53 | 10000 | 6475 | 6713 | 614 | 57 | -1623 | 12236
| 2001-11-01 | 2 | 0 | 3193 | 519 | -548 | 3166 | 1019 | 1927 | 3399 | 9 |  | 1047 | 7401 | 559 | 0 | 1 | 138 |  | 698 | 12357 | 0 | 78 | 5 |  | -955 | 11485 | 6461 | 6363 | 1067 | 68 | 57 | 14016
| 2001-12-01 | 3 | 0 | 3674 | 362 | -728 | 3311 | 987 | 1945 | 3820 | 7 |  | 1083 | 7842 | 600 | 0 | 1 | 144 |  | 745 | 13593 | 0 | 73 | 3 |  | -933 | 12736 | 7037 | 6325 | 1313 | 48 | 661 | 15384
| kontroll | 30 |  | 29957 | 4243 | 666 | 34896 | 14360 | 21573 | 31178 | 79 | 0 | 11881 | 79071 | 6352 |  | 4 | 1322 |  | 7678 | 142134 |  | 683 | 29 | 0 | -19023 | 123823 | 77845 | 54757 | 8854 | 438 | 4687 | 146581
| kontroll | 27 |  | 31672 | 4310 | -577 | 35432 | 13287 | 21879 | 36408 | 71 | 0 | 9959 | 81604 | 6574 |  | 3 | 1451 |  | 8028 | 120981 |  | 862 | 29 | 0 | 3592 | 125464 | 78454 | 69210 | 9661 | 478 | -7291 | 150512
| kontroll | 57 |  | 61629 | 8553 | 89 | 70328 | 27647 | 43452 | 67586 | 150 | 0 | 21840 | 160675 | 12926 |  | 7 | 2773 |  | 15706 | 263115 |  | 1545 | 58 |  |  | 249287 | 156299 | 123967 | 18515 | 916 | -2604 | 297093
|  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0

## S14
S14 | Water reservoirs 2001
| Finland |  |  |  |  | Norway |  |  |  |  | Sweden
| date | max | min | 2000 | 2001 | week | max | min | 2000 | 2001 | week | max | min | 2000 | 2001
| 1997-01-01 | 81 | 55 | 59 | 77 | 1 | 76.8 | 53.5 | 76.8 | 75.9 | 1 | 85.5585 | 39.4 | 60.7 | 73.968
| 1997-01-15 | 77 | 51 | 58 | 74 | 2 | 74.6 | 47.7 | 74.6 | 72.6 | 2 | 83.1051 | 36.3 | 58.4 | 70.2086
| 1997-02-01 | 70 | 45 | 55 | 68 | 3 | 71.7 | 46.4 | 71.7 | 69.4 | 3 | 79.3443 | 33.2 | 55.5 | 66.3447
| 1997-02-15 | 64 | 39 | 50 | 64 | 4 | 68.9 | 44.7 | 68.9 | 66.6 | 4 | 75.5837 | 30.2 | 52.3 | 62.8748
| 1997-03-01 | 59 | 35 | 45 | 59 | 5 | 66.9 | 43.2 | 66.9 | 63 | 5 | 72.6399 | 27.5 | 49.3 | 58.7501
| 1997-03-15 | 53 | 32 | 40 | 53 | 6 | 65 | 40 | 65 | 59.7 | 6 | 68.3891 | 24.8 | 46.5 | 54.7795
| 1997-04-01 | 47 | 28 | 34 | 47 | 7 | 62 | 36.7 | 61.9 | 57.2 | 7 | 63.6479 | 21.5 | 43.2 | 51.8371
| 1997-04-15 | 48 | 25 | 33 | 48 | 8 | 61.8 | 33.6 | 58.8 | 54.2 | 8 | 60.2141 | 18.5 | 40.1 | 48.1688
| 1997-05-01 | 60 | 27 | 55 | 58 | 9 | 60.1 | 30.7 | 56.1 | 50.7 | 9 | 56.1268 | 16.2 | 37.2 | 43.8456
| 1997-05-15 | 74 | 41 | 67 | 74 | 10 | 58 | 28.4 | 53.3 | 48 | 10 | 52.3504 | 14.4 | 34.2 | 39.8839
| 1997-06-01 | 82 | 56 | 80 | 80 | 11 | 57.6 | 26 | 50.4 | 45.3 | 11 | 49.1486 | 12.8 | 31.3 | 36.341
| 1997-06-15 | 84 | 73 | 83 | 81 | 12 | 58 | 23.6 | 47.7 | 42.4 | 12 | 46.5 | 11.3 | 28.8 | 32.4634
| 1997-07-01 | 86 | 72 | 84 | 79 | 13 | 56.8 | 22.2 | 44.7 | 39.8 | 13 | 43.7 | 10 | 26.1 | 28.8732
| 1997-07-15 | 86 | 73 | 82 | 77 | 14 | 55.4 | 20.5 | 41.8 | 37.9 | 14 | 41.4159 | 8.3 | 23.4 | 26.216
| 1997-08-01 | 87 | 72 | 80 | 77 | 15 | 53.8 | 18.9 | 39.1 | 35.9 | 15 | 41.9566 | 6.5 | 21.1 | 23.9203
| 1997-08-15 | 88 | 71 | 76 | 76 | 16 | 52.4 | 17.3 | 38.5 | 33.6 | 16 | 44.4318 | 5.6 | 21.8 | 21.4645
| 1997-09-01 | 90 | 68 | 74 | 74 | 17 | 52.7 | 19.2 | 40.5 | 32.1 | 17 | 47.2462 | 5.7 | 26.8 | 21.1802
| 1997-09-15 | 90 | 68 | 70 | 74 | 18 | 57.8 | 21.1 | 45.5 | 32.2 | 18 | 50.2769 | 5.8 | 32.5 | 25.3214
| 1997-10-01 | 88 | 66 | 66 | 71 | 19 | 62.1 | 23.5 | 49.9 | 34.7 | 19 | 56.678 | 9.4 | 38 | 33.2188
| 1997-10-15 | 88 | 64 | 64 | 74 | 20 | 64.1 | 24 | 56.6 | 38.7 | 20 | 65.3943 | 12.6405 | 46.2 | 40.9088
| 1997-11-01 | 92 | 63 | 63 | 74 | 21 | 65.1 | 27.1 | 60.7 | 42.3 | 21 | 70.63 | 16.7 | 54.3 | 46.312
| 1997-11-15 | 90 | 63 | 70 | 72 | 22 | 67.8 | 29.5 | 63.5 | 46.8 | 22 | 76.2599 | 21.9 | 61.9 | 49.8312
| 1997-12-01 | 87 | 60 | 72 | 69 | 23 | 74.3 | 35.7 | 65.9 | 50.7 | 23 | 78.7551 | 28.3 | 65.7 | 55.2847
| 1997-12-15 | 84 | 57 | 77 | 65 | 24 | 79.1 | 40.6 | 69.5 | 53.1 | 24 | 81.052 | 34.9 | 69.3 | 62.1334
| 1997-12-31 | 81 | 55 | 77 | 63 | 25 | 84.8 | 44.5 | 75.2 | 58 | 25 | 88.1244 | 41.6 | 73.2 | 67.4122
[6 empty] | 26 | 88.4 | 46.6 | 80.4 | 63.1 | 26 | 91.9566 | 45.7 | 80.9 | 70.0812
| kontroll | 1936 | 1359 | 1614 | 1728 | 27 | 91.3 | 50 | 84.1 | 67.1 | 27 | 91.7895 | 49.7 | 84 | 73.1027
[6 empty] | 28 | 93.2 | 52.4 | 86.8 | 70.8 | 28 | 92.5 | 53.1 | 88 | 76.3463
Water reservoirs 2001 expressed in % | [5 empty] | 29 | 94.7 | 53.8 | 89 | 73.2 | 29 | 93.9492 | 54.8 | 91.1 | 80.1143
Water reservoirs 2000 expressed in % | [5 empty] | 30 | 95.4 | 55.2 | 90.9 | 74.8 | 30 | 95.9078 | 56.1 | 91.4 | 81.1808
Minimum- and maximum values in % | [5 empty] | 31 | 96.3 | 56.4 | 91.5 | 76.9 | 31 | 95.9 | 58.1 | 90.8 | 81.7643
[6 empty] | 32 | 95.6 | 57 | 92.3 | 78.2 | 32 | 97.6999 | 58.3 | 92.8 | 84.4007
Finland: | [5 empty] | 33 | 97.3 | 57.2 | 93.7 | 80.1 | 33 | 96.8805 | 57.7 | 93.3 | 84.8777
Reservoir capacity |  |  | 4960 | GWh |  | 34 | 97.1 | 58.3 | 93.8 | 81.2 | 34 | 96.4113 | 57.7 | 92.2 | 84.6348
Minimum and maximum limits are based | [5 empty] | 35 | 97.2 | 59.5 | 93.9 | 82.1 | 35 | 96.2085 | 58.3 | 91.3 | 88.4768
on values for the years 1990-2001 | [5 empty] | 36 | 97.2 | 59.7 | 94.6 | 82.4 | 36 | 96.2212 | 58.1 | 90.6 | 88.7019
[6 empty] | 37 | 96.5 | 58.9 | 94.1 | 82.3 | 37 | 95.5846 | 56.9 | 89.7 | 90.1505
Norway: | [5 empty] | 38 | 96.6 | 58.1 | 93.4 | 82.2 | 38 | 96.3 | 55.8 | 87.9 | 89.8098
Reservoir capacity |  |  | 81729 | GWh |  | 39 | 96.5 | 57.8 | 93.1 | 81.2 | 39 | 96.4 | 54.7 | 86 | 88.5568
[6 empty] | 40 | 95.9 | 60 | 92.4 | 84.2 | 40 | 95.8323 | 56.4066 | 84.5 | 89.0219
[6 empty] | 41 | 96.7 | 62.2 | 92.8 | 86.9 | 41 | 95.8246 | 55.9617 | 84.8 | 90.3223
Minimum and maximum limits are based | [5 empty] | 42 | 97.1 | 63.1 | 93.5 | 87.1 | 42 | 97.5117 | 56.576 | 84.6 | 90.3401
on values for the years 1990-2000 | [5 empty] | 43 | 96.5 | 63.4 | 93.3 | 87 | 43 | 97.6734 | 57.4027 | 83.8 | 89.1137
[6 empty] | 44 | 95.1 | 65.6 | 92.6 | 88.7 | 44 | 97.4962 | 58.4438 | 84.5 | 88.7582
Sweden: | [5 empty] | 45 | 93 | 66.5 | 91.3 | 87.5 | 45 | 96.641 | 58.4213 | 84.9 | 87.1675
Reservoir capacity |  |  | 33748 | GWh |  | 46 | 90.2 | 65.4 | 89.7 | 85.8 | 46 | 96.4638 | 57.3396 | 85 | 85.6952
Minimum and maximum limits are based | [5 empty] | 47 | 88.7 | 64.1 | 88 | 83.8 | 47 | 96.6821 | 55.7 | 84.9 | 83.7905
on values for the years 1950-2001 | [5 empty] | 48 | 87.7 | 61.9 | 86.7 | 81.9 | 48 | 96.0258 | 53.8 | 83.8 | 81.5836
[6 empty] | 49 | 86.1 | 60.4 | 83.1 | 79.6 | 49 | 94.8797 | 51.5401 | 82.7 | 78.8524
[6 empty] | 50 | 84.6 | 58.4 | 84.6 | 77.2 | 50 | 92.9165 | 49.8215 | 81.7 | 76.2456
[6 empty] | 51 | 81.7 | 55.8 | 81.7 | 74.4 | 51 | 88.3387 | 46.8269 | 78.9 | 73.4759
[6 empty] | 52 | 78.8 | 53.5 | 78.8 | 71.5 | 52 | 85.5585 | 44.4692 | 76.8 | 70.7003
[7 empty] | 4113 | 2379.8 | 3863.6 | 3392 |  | 4144.0829 | 1971.1499 | 3428.7 | 3388.808

## S14-Ch
1970-99

## S15
S15 Exchange of electricity 2001, GWh
2282
3451
717
650
2244 2244
7251
211
0
997
1602
644
4217
434
33
232
1352
1942
2225
2787
1141
207
1012
701
1234
889
3411
4240
1125 1125
1043
203
0
0
1702

## S16
S16 | Exchange of electricity 2001, GWh
To
|  | Denmark | Finland | Norway | Sweden | Other
| From: |  |  |  |  | countries | 1) | S From
| Denmark | . | . | 2787 | 2241 | 4152 |  | 9180
| Finland | . | . | 232 | 2599 | . |  | 2831
| Norway | 1942 | 33 | . | 5186 | . |  | 7161
| Sweden | 3145 | 5072 | 7527 | . | 2714 |  | 18458
| Other countries 1) | 3516 | 7685 | 207 | 1141 | . |  | 12549
| S To | 8603 | 12790 | 10753 | 11167 | 6866 |  | 50179
|  | Denmark | Finland | Norway | Sweden |  |  | Nordel
| Total to | 8603 | 12790 | 10753 | 11167 |  |  | 43313
| Total from | 9180 | 2831 | 7161 | 18458 |  |  | 37630
| Net imports | -577 | 9959 | 3592 | -7291 |  |  | 5683
Net imports /
| total consumption | -1.628% | 12.2% | 2.863% | -4.844% |  |  | 1.417%
1) Germany, Russia and Poland.

## S17
S17 | Exchange of electricity between the Nordel countries 1963 - 2001, GWh
| To | To | To | To | To | To | To | To | To | To |  | kontroll
| Sweden <= | => Finland | Denmark <= | => Sweden | Norway <= | => Sweden | Norway <= | => Denmark | Norway <= | => Finland
1963 | 4 | 318 | 499 | 0 | 44 | 897 | 0 | 0 | 0 | 0
1964 | 6 | 675 | 851 | 1 | 108 | 1421 | 0 | 0 | 0 | 0
1965 | 17 | 592 | 2295 | 8 | 117 | 2175 | 0 | 0 | 0 | 1
1966 | 267 | 139 | 1619 | 119 | 812 | 1087 | 0 | 0 | 0 | 1
1967 | 121 | 109 | 2119 | 37 | 413 | 1927 | 0 | 0 | 0 | 1
1968 | 281 | 506 | 1986 | 1018 | 239 | 3232 | 0 | 0 | 0 | 1
1969 | 487 | 429 | 578 | 2885 | 305 | 1651 | 0 | 0 | 0 | 2
1970 | 832 | 959 | 541 | 3890 | 1055 | 1891 | 0 | 0 | 0 | 2
1971 | 17 | 2116 | 726 | 1519 | 709 | 3645 | 0 | 0 | 0 | 2
1972 | 22 | 3725 | 842 | 1146 | 291 | 5009 | 0 | 0 | 0 | 0
1973 | 260 | 4133 | 918 | 289 | 165 | 5401 | 0 | 0 | 0 | 0
1974 | 495 | 2979 | 433 | 291 | 330 | 5895 | 0 | 0 | 0 | 0
1975 | 180 | 3499 | 1551 | 189 | 319 | 5494 | 0 | 0 | 0 | 0
1976 | 93 | 3442 | 1951 | 795 | 373 | 6979 | 102 | 160 | 0 | 0
1977 | 524 | 743 | 1798 | 986 | 2642 | 1817 | 774 | 578 | 0 | 0
1978 | 283 | 854 | 2155 | 386 | 409 | 1741 | 57 | 2182 | 0 | 0
1979 | 1595 | 1533 | 2039 | 648 | 515 | 3189 | 217 | 2253 | 0 | 0
1980 | 1162 | 670 | 1174 | 702 | 990 | 1502 | 728 | 726 | 0 | 0
1981 | 499 | 998 | 4244 | 204 | 919 | 2812 | 135 | 3532 | 0 | 0
1982 | 1738 | 479 | 1358 | 348 | 740 | 3853 | 25 | 2972 | 0 | 0
1983 | 679 | 1355 | 3621 | 220 | 473 | 9458 | 8 | 4387 | 0 | 0
1984 | 416 | 1543 | 3108 | 182 | 641 | 5087 | 20 | 3799 | 0 | 0
1985 | 881 | 1397 | 1870 | 873 | 3408 | 3388 | 427 | 995 | 0 | 0
1986 | 491 | 1646 | 1411 | 302 | 3393 | 1026 | 180 | 633 | 0 | 0
1987 | 504 | 1355 | 2668 | 309 | 2163 | 1357 | 20 | 1359 | 0 | 0
1988 | 409 | 3058 | 3475 | 189 | 1138 | 4466 | 27 | 2287 | 0 | 5
1989 | 468 | 4323 | 7782 | 183 | 419 | 11402 | 7 | 3784 | 2 | 177
1990 | 361 | 6356 | 7922 | 220 | 399 | 12329 | 7 | 3958 | 2 | 114
1991 | 662 | 2699 | 1769 | 815 | 3051 | 4748 | 180 | 1199 | 3 | 78
1992 | 691 | 4453 | 5374 | 1474 | 1176 | 6681 | 57 | 3159 | 5 | 105
1993 | 379 | 3136 | 4014 | 1313 | 505 | 6281 | 185 | 2139 | 6 | 60
1994 | 298 | 1664 | 681 | 1933 | 2850 | 4430 | 2306 | 932 | 291 | 1
1995 | 213 | 3821 | 2093 | 625 | 1222 | 6862 | 790 | 1719 | 63 | 51
1996 | 2149 | 1411 | 293 | 8670 | 7981 | 4050 | 4846 | 165 | 253 | 0 |  | 29818
1997 | 929 | 4362 | 938 | 5244 | 6800 | 3652 | 1723 | 1084 | 139 | 89 |  | 24960
1998 | 839 | 5347 | 1901 | 2162 | 7379 | 3004 | 418 | 1327 | 91 | 72 |  | 22540
1999 | 825 | 6737 | 2046 | 1614 | 5929 | 5904 | 622 | 2759 | 104 | 107 |  | 26647
2000 | 813 | 8216 | 3390 | 1613 | 916 | 15724 | 146 | 4634 | 173 | 131 |  | 35756
2001 | 2599 | 5072 | 3145 | 2241 | 7527 | 5186 | 2787 | 1942 | 232 | 33
| 23489 | 96849 | 87178 | 45643 | 68865 | 176653 | 16794 | 54664 | 1364 | 1033 | 0 | 139721
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## S18
S18 | Monthly exchange of electricity between the Nordel countries 2001, GWh
| To | To | To | To | To | To | To | To | To | To
| Norway <= | => Finland | Norway <= | => Sweden | Sweden <= | => Finland | Denmark <= | => Norway | Denmark <= | => Sweden
Jan | 33 | 0 | 346 | 659 | 217 | 297 | 250 | 92 | 146 | 108
Feb | 32 | 0 | 399 | 499 | 261 | 321 | 75 | 277 | 103 | 271
Mar | 35 | 0 | 766 | 229 | 366 | 256 | 10 | 518 | 47 | 374
Apr | 27 | 0 | 1111 | 159 | 493 | 107 | 31 | 437 | 57 | 482
May | 7 | 4 | 1085 | 85 | 299 | 166 | 122 | 315 | 257 | 105
Jun | 3 | 7 | 561 | 271 | 562 | 96 | 107 | 293 | 218 | 82
Jul | 0 | 8 | 848 | 144 | 50 | 615 | 147 | 130 | 246 | 134
Aug | 0 | 13 | 575 | 341 | 36 | 642 | 220 | 107 | 442 | 13
Sep | 3 | 1 | 921 | 187 | 23 | 929 | 211 | 133 | 618 | 14
Oct | 26 | 0 | 619 | 358 | 37 | 635 | 322 | 74 | 509 | 50
Nov | 33 | 0 | 152 | 1065 | 76 | 444 | 229 | 134 | 270 | 186
Dec | 33 | 0 | 144 | 1189 | 179 | 564 | 218 | 277 | 232 | 422
kontroll | 232 | 33 | 7527 | 5186 | 2599 | 5072 | 1942 | 2787 | 3145 | 2241 | 30764

## S19,20
S19 | Net consumption of electricity 2001, by consumer category
| % | Denmark | Finland | Iceland | Norway | Sweden |  | Nordel
| Housing | 29% | 25% | 8.893% | 34% | 32% |  | 30%
| Industry (incl. energy sector) | 30% | 57% | 76.62% | 45% | 43% |  | 46%
| Trade and services (incl. transport) | 32% | 17% | 9.454% | 20% | 20% |  | 20%
| Other (incl. agriculture) | 9% | 1% | 5.035% | 1% | 5% |  | 4%
| kontrollsum | 100% | 100% | 100% | 100% | 100% |  | 100%
S20 | Electricity consumption 2001, GWh
|  | Denmark | Finland | Iceland | Norway | Sweden |  | Nordel
| Total consumption | 35432 | 81604 | 8028 | 125464 | 150512 |  | 401040
| Occasional power to electric boilers | . | 88 | 327 | 5102 | 1600 | 1) | 7117
| Gross consumption | 35432 | 81516 | 7701 | 120362 | 148912 |  | 393923
| Losses, pumped storage power | 2252 | 3000 | 392 | 10435 | 11912 |  | 27991
| Net consumption | 33180 | 78516 | 7309 | 109927 | 137000 |  | 365932
| - housing | 9600 | 19820 | 650 | 36963 | 43700 |  | 110733
| - industry (incl. energy sector) | 9900 | 44864 | 5600 | 49228 | 59000 |  | 168592
| - trade and services (incl. transport) | 10700 | 12982 | 691 | 22156 | 27200 |  | 73729
| - other (incl. agriculture) | 2980 | 850 | 368 | 1580 | 7100 |  | 12878
| Population (million) | 5.355 | 5.195 | 0.286 | 4.51 | 8.911 |  | 24.257
| Gross consumption per capita, kWh | 6616.62 | 15691.2416 | 26926.5734 | 26687.8049 | 16711.0313 |  | 16239.5597
| Gross consumption 2000 | 34896 | 79050 | 7346 | 117977 | 144819 |  | 384088
| Change as against 2000, % | 1.536% | 3.12% | 4.833% | 2.022% | 2.826% |  | 2.561%
|  | 0 | 0 | 0 | 0 | 0 |  | 0
1) Only electric boilers at district heating plants shown.
| check | 0 | 0 | 0 | 0 | 0 |  | 0
| Kontrollsum | 0 | 0 | 0 | 0 | 0 |  | 0

## S21,22,23
S21 | Gross consumption 1992 - 2001, TWh
|  | Denmark | Finland | Iceland | Norway | Sweden
| 1992 | 32.503 | 63.069 | 4.32 | 100.052 | 130.461
| 1993 | 33.071 | 65.398 | 4.501 | 104.103 | 133.017
| 1994 | 33.201 | 68.129 | 4.536 | 108.299 | 134
| 1995 | 33.544 | 68.861 | 4.704 | 111.121 | 136.953
| 1996 | 34.783 | 69.955 | 4.788 | 110.697 | 140.438
| 1997 | 34.48 | 73.532 | 5.242 | 111.415 | 140.119
| 1998 | 34.747 | 76.352 | 6.029 | 115.715 | 141.63
| 1999 | 34.844 | 77.81 | 6.908 | 116.516 | 141.222
| 2000 | 34.9 | 79 | 7.346 | 118 | 144.7
| 2001 | 35.432 | 81.516 | 7.701 | 120.362 | 148.912
check |  | 306.073 | 642.106 | 48.374 | 995.918 | 1242.54
S22 | Gross consumption per capita 1992 - 2001, kWh
|  | Denmark | Finland | Iceland | Norway | Sweden
| 1992 | 6293 | 12509 | 16615 | 23343 | 15009
| 1993 | 6387 | 12929 | 17053 | 23984 | 15214
| 1994 | 6385 | 13359 | 15120 | 25186 | 15208
| 1995 | 6400 | 13494 | 17618 | 25557 | 15498
| 1996 | 6563 | 13654 | 17733 | 25268 | 15867
| 1997 | 6506 | 14305 | 19414.8148 | 25298.5922 | 15830.8666
| 1998 | 6556.0377 | 14814.125 | 21923.6364 | 26114.8725 | 15996.1599
| 1999 | 6541 | 15062 | 24935 | 26125 | 15937
| 2000 | 6534.8315 | 15246.8635 | 26049.6454 | 26452.2422 | 16255.3933
| 2001 | 6617 | 15691 | 26926.5734 | 26688 | 16711
157526.4198
S23 | Total consumption 2001, GWh
|  |  | Denmark | Finland | Iceland | Norway | Sweden | Nordel
| Generation 2001 |  | 36009 | 71645 | 8028 | 121872 | 157803 | 395357
| Net imports 2001 |  | -577 | 9959 |  | 3592 | -7291 | 5683
| Total consumption 2001 |  | 35432 | 81604 | 8028 | 125464 | 150512 | 401040
| Generation 2000 |  | 34230 | 67190 | 7678 | 142847 | 141894 | 393839
| Net imports 2000 |  | 666 | 11881 |  | -19023 | 4687 | -1789
| Total consumption 2000 |  | 34896 | 79071 | 7678 | 123824 | 146581 | 392050

## S24
S24 | Total energy supply 1992 - 2001, PJ
|  | Denmark | Finland | Iceland | Norway | Sweden
| 1992 | 792 | 1107 | 91 | 917 | 2175
| 1993 | 815 | 1137 | 91 | 939 | 2185
| 1994 | 844 | 1215 | 93 | 973 | 2202
| 1995 | 841 | 1192 | 95 | 1023 | 2257
| 1996 | 949 | 1246 | 98 | 982 | 2298
| 1997 | 880 | 1282 | 105 | 1043 | 2267
| 1998 | 857 | 1300 | 113 | 1134 | 2292
| 1999 | 841 | 1327 | 122 | 1203 | 2290
| 2000 | 812 | 1312 | 130 | 1301 | 2303
| 2001 | 830 | 1354 | 139 | 1253 | 2341
Obs! Övergång har gjorts till det internationella sättet att redovisa energitillförseln,
vilket innebär att kärnkraften redovisas inklusive energiomvandlingsförluster.
| kontroll | 8461 | 12472 | 1077 | 10768 | 22610 | 55388

## S25,26,27
S25 | Gross consumption of electricity 2001 and prognoses for 2002, 2005 and 2010, TWh
|  | Denmark 2) | Finland 3) | Icland 4) | Norway 5) |  | Sweden 6)
| 2001 1) | 35.432 | 81.516 | 7.701 | 120.362 |  | 148.912
| 2002 | 36 | 84 | 7.9 | 122 |  | 150
| 2005 | 36 | 87 | 8.1 | 125 |  | 148
| 2010 | 38 | 93 | 8.4 | 131 |  | 152
| 1) | The consumption is not corrected vs. temperatures.
| 2) | Prognoses based on data from Eltra and Elkraft System.
| 3) | Prognoses based on data from Finergy.
| 4) | Prognoses based on data from Energi prognose komiteen.
| 5) | Prognoses based on data from Statnett SF.
| 6) | Prognoses based on data from Statens Energimyndighet.
S26 | Maximum system load 2001 and prognoses for 2002, 2005 and 2010, MW
|  | Denmark | Finland | Iceland | Norway |  | Sweden
| 2001 4) | 6229 | 13310 | 1130 | 23054 |  | 26800
| 2002 1) | 6524 | 13820 | 1120 | 23439 | 2) | 27300 | 3)
| 2005 1) | 6616 | 15100 | 1150 | 24086 | 2) | 27600 | 3)
| 2010 1) | 6856 | 16100 | 1200 | 25445 | 2) | 29000 | 3)
| 1) | Includes supply to electric boilers only for Iceland.
| 2) | Prognoses according to 10 years winter temp.
| 3) | Prognoses according to 2 years winter temp.
| 4) | The consumption is not corrected vs. temperatures.
S27 | Installed capacity 1) 2001 and prognoses for 2002, 2005 and 2010, MW
|  | Denmark | Finland | Iceland | Norway |  | Sweden
| 2001 | 12480 | 16827 | 1427 | 27893 |  | 31721
| 2002 | 12230 | 16894 | 1472 | 27980 |  | 32100
| 2005 | 12921 | 2) | 1472 | 28200 |  | 31800
| 2010 | 13413 | 2) | 1520 | 30100 |  | 32900
| 1) | Refers to the sum of the rated net capacities of the individual power plant units in the power system,
and should not be considered to represent the total capacity available at any single time.
| 2) | Prognoses not available.

## S25,26,27-old (hidden)
S25 | Bruttoförbrukning av el 1996 och prognoser för 2000 och 2005, TWh
|  | Danmark |  | Finland | Island | Norge | Sverige
| 1996 | 35.432 |  | 81.516 | 7.701 | 120.362 | 148.912
| 2000 | 36 |  | 81 | 6.2 | 116.9 | 145.5 | 1)
| 2005 | 38 |  | 89 | 6.5 | 125.1 | 147.8 | 1)
| 1) | Nettoförbrukning, prognos baserad på NUTEKs Klimatrapport
S26 | Effektbehov 1996 och prognoser för 2000 och 2005, MW
|  | Danmark |  | Finland | Island | Norge 1) | Sverige
| 1996 | 7410 |  | 11200 | 750 | 22200 | 26300
| 2000 | 7753 | 2) | 14200 | 900 | 22900 | 27450 | 3)
| 2005 | 8262 | 2) | 15600 | 950 | 25000 | 27890 | 3)
| 1) | Exkl. reservbehovet
| 2) | VEAGs andel utgör 350 MW
| 3) | Prognos baserad på NUTEKs Klimatrapport
S27 | Installerad effekt under 1996 och prognoser för 2000 och 2005, MW
|  | Danmark |  | Finland | Island | Norge 1) | Sverige
| 1996 | 10937 | 2) | 14963 | 1049 | 27631 | 34158
| 2000 | 9561 | 3) | 16000 | 1174 | 28700 | 4)
| 2005 | 9024 | 3) | 4) | 1174 | 30000 | 4)
| 1) | Prognoserna är baserade på rapport 96/16 från Statistik sentralbyrå:
"Det norske kraftmarkedet til år 2020 Nasjonale og regionale framskrivninger"
| 2) | Icke-elverksägd effekt utgör 1587 MW
| 3) | Exkl. icke-elverksägd effekt
| 4) | N.A.

## S28
S28 | Spotpriser og omsetning på de nordiske elbørsene 2000 - 2001
|  | uke | NOK / MWh | min | maks | GWh / v.
| Nord Pool ASAs spotmarked - gjennomsnitlig systempris og omsetning per uke | 1 | 120.94 | 98.79 | 142.91 | 1908.3
|  | 2 | 117.73 | 104.55 | 130.11 | 1994.6
|  | 3 | 120.78 | 102.39 | 139.19 | 2113.9
|  | 4 | 169.8 | 104.76 | 1808.66 | 2138
|  | 5 | 117.55 | 91.91 | 149.14 | 2081
|  | 6 | 99.55 | 83.68 | 115.08 | 1947.6
|  | 7 | 102.92 | 90.79 | 127.32 | 2147.8
|  | 8 | 103.26 | 86.51 | 151.68 | 2210.5
|  | 9 | 92.64 | 79.4 | 109.44 | 2126.8
|  | 10 | 89.46 | 71.52 | 120.72 | 2204.7
|  | 11 | 91.05 | 81.02 | 109.68 | 2136.6
|  | 12 | 91.64 | 80.51 | 120.58 | 2121.8
|  | 13 | 112.49 | 87.35 | 300.33 | 2110.6
|  | 14 | 134.49 | 93.74 | 398.46 | 2111.8
|  | 15 | 112.38 | 91.29 | 263.57 | 1939.9
|  | 16 | 92.01 | 67.38 | 118.66 | 1695.7
|  | 17 | 81.89 | 46.32 | 133.39 | 1624
|  | 18 | 75.25 | 30.43 | 149.18 | 1619.4
|  | 19 | 81.11 | 39.66 | 139.9 | 1559.8
|  | 20 | 71.31 | 40.6 | 118.81 | 1516.3
|  | 21 | 80.98 | 51.6 | 123.2 | 1552.4
|  | 22 | 76.68 | 46.25 | 122.69 | 1514.3
|  | 23 | 88.3 | 60.77 | 130.15 | 1542.6
|  | 24 | 89.96 | 62.72 | 144 | 1506.9
|  | 25 | 87.22 | 52.19 | 119.28 | 1487.6
|  | 26 | 83.84 | 45.67 | 130.78 | 1532.6
| ELBAS marked - omsetning per uke 2001 | 27 | 63.21 | 28.49 | 97.38 | 1604.1
|  | 28 | 49.15 | 19.01 | 85.23 | 1605.2
|  | 29 | 39.08 | 19.71 | 65.17 | 1568.8
|  | 30 | 49.95 | 22.65 | 69.02 | 1542.2
|  | 31 | 73.93 | 41.18 | 94.89 | 1493.2
|  | 32 | 83.24 | 45.89 | 112.77 | 1529.2
|  | 33 | 77.55 | 30.81 | 110.42 | 1543.8
|  | 34 | 75.15 | 45.26 | 96.12 | 1631.2
|  | 35 | 89.66 | 65.58 | 107.5 | 1623.1
|  | 36 | 103.78 | 79.64 | 137.2 | 1692
|  | 37 | 116.36 | 84.68 | 205.86 | 1728.1
|  | 38 | 121.46 | 89.25 | 170.32 | 1748.7
|  | 39 | 122.89 | 95.87 | 156.82 | 1701
|  | 40 | 122.01 | 101.85 | 137.17 | 1702.3
|  | 41 | 130.14 | 86.8 | 156.9 | 1773.3
|  | 42 | 123.18 | 74.88 | 148.03 | 1764.8
|  | 43 | 119.77 | 72.88 | 141.67 | 1870.1
|  | 44 | 127.74 | 92.73 | 160.66 | 1977
|  | 45 | 126.16 | 58.22 | 160.83 | 2019.7
|  | 46 | 138.48 | 80.08 | 168.69 | 2045
|  | 47 | 136.72 | 88.24 | 170.31 | 2132.9
|  | 48 | 135.97 | 90.51 | 240.35 | 2090.7
|  | 49 | 129.46 | 79.85 | 158.28 | 2077.9
|  | 50 | 124.44 | 86.21 | 154.04 | 2119.3
|  | 51 | 161.15 | 107.81 | 345.13 | 2336.7
|  | 52 | 137.32 | 97.83 | 172.35 | 2321.1 |  | Sum | Sum | Sum | FI og SE EUR/MWh
|  | 1 | 140.53 | 104.68 | 180.46 | 2400.1 | Uke | GWh | GWh | GWh | F Max | F Avg | F Min
|  | 2 | 162.59 | 120.4 | 383.88 | 2539 | 1 |  | 11 |  | 24.3884 | 17.1342 | 12.2411 | 0
| ELBAS marked - pris per uke 2001 | 3 | 199.5 | 140.09 | 453.11 | 2720.7 | 2 |  | 17 |  | 46.5824 | 20.6607 | 12.602 | 0
|  | 4 | 163.19 | 134.04 | 241.92 | 2530.9 | 3 |  | 14 |  | 56.5438 | 24.1321 | 14.8638 | 0
|  | 5 | 219.77 | 144.35 | 1815.87 | 2791.3 | 4 |  | 11 |  | 29.2225 | 19.9545 | 12.6151 | 0
|  | 6 | 274.46 | 162.16 | 1951.76 | 2798.1 | 5 |  | 21 |  | 242.1317 | 30.7921 | 12.3881 | 0
|  | 7 | 170.33 | 152.26 | 192.79 | 2431 | 6 |  | 16 |  | 269.3713 | 37.2082 | 14.5909 | 0
|  | 8 | 180.94 | 151.66 | 400.39 | 2582.1 | 7 |  | 10 |  | 26.9948 | 20.1898 | 9.4817 | 0
|  | 9 | 264.43 | 174.78 | 1232.56 | 2863.9 | 8 |  | 15 |  | 71.4904 | 23.6066 | 16.6515 | 0
|  | 10 | 197.93 | 172.57 | 260.59 | 2520.9 | 9 |  | 13 |  | 150.3556 | 33.9104 | 15.129 | 0
|  | 11 | 194.68 | 173.22 | 218.96 | 2538.1 | 10 |  | 10 |  | 33.1263 | 23.5705 | 16.6472 | 0
|  | 12 | 214.24 | 198.35 | 319.21 | 2682.9 | 11 |  | 6 |  | 27.9242 | 23.1931 | 0.87668 | 0
|  | 13 | 217.44 | 198.87 | 930.97 | 2564.7 | 12 |  | 21 |  | 114.5492 | 28.1933 | 16.8152 | 0
|  | 14 | 207.98 | 189.8 | 285.51 | 2308.4 | 13 |  | 14 |  | 65.5906 | 26.4043 | 21.0148 | 0
|  | 15 | 202.41 | 190.95 | 223.24 | 2130.1 | 14 |  | 6 |  | 35.5655 | 24.9888 | 18.0563 | 0
|  | 16 | 221.82 | 194.2 | 339.63 | 2197 | 15 |  | 17 |  | 32.8231 | 24.9065 | 18.5583 | 0
|  | 17 | 228.48 | 192.62 | 453.15 | 2029.5 | 16 |  | 12 |  | 56.3507 | 28.3933 | 19.896 | 0
|  | 18 | 203.54 | 159.86 | 270.18 | 1902.1 | 17 |  | 9 |  | 49.3801 | 25.3038 | 11.9428 | 0
|  | 19 | 192.14 | 86.17 | 269.63 | 1809.7 | 18 |  | 11 |  | 38.6897 | 20.0768 | 0.54892 | 0
|  | 20 | 179.42 | 80.56 | 249.65 | 1775 | 19 |  | 12 |  | 36.9895 | 21.6282 | 2.2088 | 0
|  | 21 | 187.23 | 75.37 | 258.09 | 1760 | 20 |  | 14 |  | 33.1007 | 20.7743 | 2.7769 | 0
|  | 22 | 205.01 | 166.6 | 270 | 1739.8 | 21 |  | 11 |  | 36.6022 | 23.4657 | 3.8821 | 0
|  | 23 | 205.59 | 165.25 | 297.62 | 1671.9 | 22 |  | 14 |  | 34.0428 | 25.2772 | 4.9417 | 0
|  | 24 | 210.67 | 162.61 | 375.76 | 1622.9 | 23 |  | 7 |  | 35.6907 | 25.8102 | 16.3312 | 0
|  | 25 | 189 | 31.21 | 356.07 | 1640.5 | 24 |  | 15 |  | 49.6635 | 27.6119 | 18.9569 | 0
|  | 26 | 199.45 | 169.18 | 230.41 | 1544.6 | 25 |  | 9 |  | 45.178 | 22.9993 | 4.3862 | 0
|  | 27 | 206.7973 | 174.24 | 268.34 | 1523.8 | 26 |  | 7 |  | 30.5103 | 25.1397 | 13.0758 | 0
|  | 28 | 194.43 | 129.86 | 237.51 | 1513.9 | 27 |  | 6 |  | 36.4407 | 26.5128 | 18.4373 | 0
|  | 29 | 162.87 | 43.64 | 213.26 | 1596.8 | 28 |  | 7 |  | 30.699 | 24.3214 | 10.8095 | 0
|  | 30 | 157.24 | 50.82 | 199.46 | 1601.7 | 29 |  | 9 |  | 27.0879 | 19.8878 | 4.8758 | 0
|  | 31 | 168.73 | 50.65 | 207.14 | 1646.5 | 30 |  | 12 |  | 26.3902 | 20.1528 | 6.3552 | 0
|  | 32 | 165.59 | 49.57 | 210.62 | 1676.3 | 31 |  | 8 |  | 39.5306 | 21.655 | 5.4207 | 0
|  | 33 | 165.42 | 85.23 | 209.06 | 1677.3 | 32 |  | 15 |  | 27.8218 | 21.029 | 2.1821 | 0
|  | 34 | 181.08 | 142.05 | 209.17 | 1656.9 | 33 |  | 9 |  | 28.2322 | 21.7031 | 9.1944 | 0
|  | 35 | 174.17 | 86.85 | 238.06 | 1709.6 | 34 |  | 6 |  | 31.1144 | 23.8842 | 17.0398 | 0
|  | 36 | 165.41 | 86.23 | 206.92 | 1802.3 | 35 |  | 8 |  | 31.9575 | 20.7933 | 5.6237 | 0
| I svensk område forgår handel i SEK | 37 | 165.52 | 86.79 | 192.94 | 1895.9 | 36 |  | 14 |  | 30 | 19 | 1 | 0
| I finsk område forgår handel i FIM | 38 | 164.13 | 111.97 | 189.52 | 1906.2 | 37 |  | 11 |  | 27 | 20 | 1.5 | 0
|  | 39 | 178.53 | 125.21 | 199.92 | 1905.1 | 38 |  | 12 |  | 30 | 17.88 | 3 | 0
|  | 40 | 163.33 | 120.48 | 190.79 | 1896.9 | 39 |  | 18 |  | 35 | 22 | 11 | 0
|  | 41 | 140.04 | 31.28 | 174.53 | 1986.1 | 40 |  | 12 |  | 26 | 19.6 | 9 | 0
|  | 42 | 150.54 | 104.02 | 170.53 | 1987.6 | 41 |  | 12 |  | 25 | 17.4 | 0.2 | 0
|  | 43 | 159.45 | 103.43 | 198.01 | 2034.1 | 42 |  | 13 |  | 24 | 19.24 | 9.2 | 0
|  | 44 | 144.75 | 95.63 | 176.45 | 2071.8 | 43 |  | 25 |  | 36 | 21 | 8 | 0
|  | 45 | 162.54 | 99.06 | 219.2 | 2287.8 | 44 |  | 18 |  | 25.5 | 18.31 | 8 | 0
|  | 46 | 175.55 | 149.47 | 230.71 | 2373 | 45 |  | 21 |  | 33.3 | 21.9 | 9 | 0
|  | 47 | 179.92 | 155.56 | 267.41 | 2457.1 | 46 |  | 20 |  | 62 | 24 | 15 | 0
|  | 48 | 175.76 | 150.76 | 227.52 | 2487.2 | 47 |  | 18 |  | 40 | 24 | 18.4 | 0
|  | 49 | 178.59 | 156.5 | 226.37 | 2494 | 48 |  | 13 |  | 48.3 | 22.9 | 16.5 | 0
|  | 50 | 186.66 | 158.83 | 250.68 | 2642.1 | 49 |  | 17 |  | 47.5 | 23.8 | 16.1 | 0
|  | 51 | 214.32 | 164.24 | 420.98 | 2872.1 | 50 |  | 15 |  | 51 | 25.2 | 15.5 | 0
|  | 52 | 183.59 | 160.76 | 222.58 | 2791.4 | 51 |  | 29 |  | 80 | 31.2 | 13 | 0
[7 empty] | 52 |  | 25 | 25 | 36.5 | 24.6 | 15 | 0
[7 empty] | Sum | 0 | 581 | 25

## S29
S29 | Information on the environment
| SO2 - mg/kWh | [6 empty] | NO2 - mg/kWh | [6 empty] | CO2 - g/kWh
|  | Denmark | Finland | Sweden | Nordel | EU |  |  | Denmark | Finland | Sweden | Nordel | EU |  |  | Danmark | Finland | Sverige | Nordel | EU
| 1985 | 4226.6532 | 1273.1322 | 90 | 689.9914 | 6230 |  | 1985 | 2797.6901 | 653.0431 | 50 | 420 | 2103.608 |  | 1985 | 676.5682 | 165.0869 | 21 | 110 | 525.4027
| 1986 | 4016.9015 | 977.9007 | 90 |  |  |  | 1986 | 2738.9495 | 588.8546 | 50 |  |  |  | 1986 | 663.4141 | 152.462 | 19
| 1987 | 3620.1328 | 1022.1728 | 80 |  |  |  | 1987 | 2682.0357 | 640.4344 | 40 |  |  |  | 1987 | 646.9177 | 162.2728 | 15
| 1988 | 3918.3606 | 928.263 | 50 |  |  |  | 1988 | 2633.5376 | 663.1762 | 40 |  |  |  | 1988 | 636.0473 | 167.5816 | 13
| 1989 | 3703.5837 | 821.9047 | 30 |  |  |  | 1989 | 2484.3173 | 628.4232 | 40 |  |  |  | 1989 | 602.5468 | 160.6538
| 1990 | 3167.093 | 1014.229 | 30 | 469.913 | 4540.001 |  | 1990 | 2502.8019 | 733.8732 | 30 | 320 | 1275.8244 |  | 1990 | 603.8768 | 188.5973 | 11 | 90 | 458.8317
| 1991 | 3539.1896 | 734.2563 | 30 |  |  |  | 1991 | 2566.5089 | 726.5507 | 30 |  |  |  | 1991 | 618.7418 | 194.699
| 1992 | 2897.4704 | 469.2264 | 20 |  |  |  | 1992 | 2389.0758 | 567.0753 | 30 |  |  |  | 1992 | 588.4094 | 154.7877
| 1993 | 2011.467 | 476.0415 | 20 |  |  |  | 1993 | 1737.6381 | 569.9395 | 30 |  |  |  | 1993 | 560.5356 | 185.9464
| 1994 | 1738.2598 | 459.4791 | 36 |  |  |  | 1994 | 1546.9667 | 570.5346 | 29 |  |  |  | 1994 | 520.781 | 242.8353 | 22
| 1995 | 1658.993 | 388 | 28 | 290 | 2370 |  | 1995 | 1321.9546 | 436 | 28 | 240 | 801 |  | 1995 | 477.8439 | 210 | 22 | 100 | 366
| 1996 | 1784.288 | 423.4982 | 51 | 450 | 2100 |  | 1996 | 1485.8559 | 473.1735 | 59 | 390 | 790 |  | 1996 | 534.0069 | 271.6548 | 31 | 160 | 370
| 1997 | 1049.7786 | 380 | 14 | 250 |  |  | 1997 | 1131.447 | 420 | 21 | 250 |  |  | 1997 | 459.5003 | 220 | 12 | 120
| 1998 | 775.6584 | 280 | 13 | 180 |  |  | 1998 | 918.303 | 310 | 20 | 190 |  |  | 1998 | 414.5974 | 170 | 11 | 100
| 1999 | 559.0208 | 280 | 13 |  |  |  | 1999 | 768.4874 | 320 | 19 |  |  |  | 1999 | 373.0261 | 170 | 11
| 2000 | 203 | 280 | 13 |  |  |  | 2000 | 678 | 310 | 18 |  |  |  | 2000 | 381 | 170 | 12
|  | 38869.8503 | 10208.1039 | 608 | 2329.9043 | 15240.001 | 67255.8596 |  | 30383.5695 | 8611.0784 | 534 | 1810 | 4970.4324 | 46309.0803 |  | 8757.8131 | 2986.5775 | 200 | 680 | 1720.2345 | 14344.6251
2. Production
| TWh | Denmark | Finland | Sweden | Norway | Iceland | Sum |  | Denmark | Finland | Sweden | Norway | Iceland | Sum |  | Denmark | Finland | Sweden | Norway | Iceland | Sum
| 1985 | 26.005 | 47.369 | 132.301 | 103.19 | 3.837 | 312.702 | 1985 | 26.005 | 47.369 | 132.301 | 103.19 | 3.837 | 312.702 | 1985 | 26.005 | 47.369 | 132.301 | 103.19 | 3.837 | 312.702
| 1986 | 28.3311 | 47.015 | 133.632 | 97.156 | 4.058 | 310.1921 | 1986 | 28.3311 | 47.015 | 133.632 | 97.156 | 4.058 | 310.1921 | 1986 | 28.3311 | 47.015 | 133.632 | 97.156 | 4.058 | 310.1921
| 1987 | 27.0239 | 50.828 | 141.992 | 104.283 | 4.152 | 328.2789 | 1987 | 27.0239 | 50.828 | 141.992 | 104.283 | 4.152 | 328.2789 | 1987 | 27.0239 | 50.828 | 141.992 | 104.283 | 4.152 | 328.2789
| 1988 | 25.45 | 51.187 | 141.39 | 110.063 | 4.417 | 332.507 | 1988 | 25.45 | 51.187 | 141.39 | 110.063 | 4.417 | 332.507 | 1988 | 25.45 | 51.187 | 141.39 | 110.063 | 4.417 | 332.507
| 1989 | 20.3881 | 51.085 | 139.522 | 119.099 | 4.475 | 334.5691 | 1989 | 20.3881 | 51.085 | 139.522 | 119.099 | 4.475 | 334.5691 | 1989 | 20.3881 | 51.085 | 139.522 | 119.099 | 4.475 | 334.5691
| 1990 | 22.9908 | 51.374 | 142.157 | 121.601 | 4.447 | 342.5698 | 1990 | 22.9908 | 51.374 | 142.157 | 121.601 | 4.447 | 342.5698 | 1990 | 22.9908 | 51.374 | 142.157 | 121.601 | 4.447 | 342.5698
| 1991 | 32.8381 | 54.895 | 142.579 | 110.95 | 4.427 | 345.6891 | 1991 | 32.8381 | 54.895 | 142.579 | 110.95 | 4.427 | 345.6891 | 1991 | 32.8381 | 54.895 | 142.579 | 110.95 | 4.427 | 345.6891
| 1992 | 27.1072 | 54.901 | 141.038 | 117.681 | 4.54 | 345.2672 | 1992 | 27.1072 | 54.901 | 141.038 | 117.681 | 4.54 | 345.2672 | 1992 | 27.1072 | 54.901 | 141.038 | 117.681 | 4.54 | 345.2672
| 1993 | 29.7819 | 57.85 | 140.821 | 120.093 | 4.721 | 353.2669 | 1993 | 29.7819 | 57.85 | 140.821 | 120.093 | 4.721 | 353.2669 | 1993 | 29.7819 | 57.85 | 140.821 | 120.093 | 4.721 | 353.2669
| 1994 | 35.2369 | 62.005 | 137.656 | 113.528 | 4.774 | 353.1999 | 1994 | 35.2369 | 62.005 | 137.656 | 113.528 | 4.774 | 353.1999 | 1994 | 35.2369 | 62.005 | 137.656 | 113.528 | 4.774 | 353.1999
| 1995 | 30.4719 | 60.599 | 143.311 | 123.499 | 4.975 | 362.8559 | 1995 | 30.4719 | 60.599 | 143.311 | 123.499 | 4.975 | 362.8559 | 1995 | 30.4719 | 60.599 | 143.311 | 123.499 | 4.975 | 362.8559
| 1996 | 50.367 | 66.357 | 136.013 | 104.878 | 5.113 | 362.728 | 1996 | 50.367 | 66.357 | 136.013 | 104.878 | 5.113 | 362.728 | 1996 | 50.367 | 66.357 | 136.013 | 104.878 | 5.113 | 362.728
| 1997 | 41.747 | 65.95 | 144.926 | 112.008 | 5.58 | 370.211 | 1997 | 41.747 | 65.95 | 144.926 | 112.008 | 5.58 | 370.211 | 1997 | 41.747 | 65.95 | 144.926 | 112.008 | 5.58 | 370.211
| 1998 | 39.04 | 67.183 | 154.34 | 116.953 | 6.277 | 383.793 | 1998 | 39.04 | 67.183 | 154.34 | 116.953 | 6.277 | 383.793 | 1998 | 39.04 | 67.183 | 154.34 | 116.953 | 6.277 | 383.793
| 1999 | 36.835 | 66.655 | 150.51 | 122.874 | 7.184 | 384.058 | 1999 | 36.835 | 66.655 | 150.51 | 122.874 | 7.184 | 384.058 | 1999 | 36.835 | 66.655 | 150.51 | 122.874 | 7.184 | 384.058
| 2000 | 34.23 | 67.19 | 141.894 | 142.847 | 7.678 | 393.839 | 2000 | 34.23 | 67.19 | 141.894 | 142.847 | 7.678 | 393.839 | 2000 | 34.23 | 67.19 | 141.894 | 142.847 | 7.678 | 393.839
3. Total emmissions
| SO2 - t |  |  |  | kt | TWh | mg/kWh | NO2 - t |  |  |  | kt | TWh | mg/kWh | CO2 - kt |  |  |  | kt | TWh | mg/kWh
|  | Denmark | Finland | Sweden |  |  |  |  | Denmark | Finland | Sweden |  |  |  |  | Denmark | Finland | Sweden
| 1985 | 109914.1171 | 60307 | 11907.09 | 182.1282 | 312.702 | 582.4338 | 1985 | 72753.9312 | 30934 | 6615.05 | 110.303 | 312.702 | 352.7415 | 1985 | 17594.1568 | 7820 | 2778.321 | 28.1925 | 312.702 | 90.1577
| 1986 | 113803.2814 | 45976 | 12026.88 | 171.8062 | 310.1921 | 553.8702 | 1986 | 77597.483 | 27685 | 6681.6 | 111.9641 | 310.1921 | 360.9508 | 1986 | 18795.2593 | 7168 | 2539.008 | 28.5023 | 310.1921 | 91.8859
| 1987 | 97830.0656 | 51955 | 11359.36 | 161.1444 | 328.2789 | 490.8766 | 1987 | 72479.0346 | 32552 | 5679.68 | 110.7107 | 328.2789 | 337.2459 | 1987 | 17482.2327 | 8248 | 2129.88 | 27.8601 | 328.2789 | 84.8672
| 1988 | 99722.2761 | 47515 | 7069.5 | 154.3068 | 332.507 | 464.0708 | 1988 | 67023.5323 | 33946 | 5655.6 | 106.6251 | 332.507 | 320.6703 | 1988 | 16187.4026 | 8578 | 1838.07 | 26.6035 | 332.507 | 80.0088
| 1989 | 75508.8701 | 41987 | 4185.66 | 121.6815 | 334.5691 | 363.6963 | 1989 | 50650.3988 | 32103 | 5580.88 | 88.3343 | 334.5691 | 264.0241 | 1989 | 12284.7581 | 8207 | 0 | 20.4918 | 334.5691 | 61.2482
| 1990 | 72814.107 | 52105 | 4264.71 | 129.1838 | 342.5698 | 377.1021 | 1990 | 57541.501 | 37702 | 4264.71 | 99.5082 | 342.5698 | 290.4757 | 1990 | 13883.631 | 9689 | 1563.727 | 25.1364 | 342.5698 | 73.3759
| 1991 | 116220.1036 | 40307 | 4277.37 | 160.8045 | 345.6891 | 465.1709 | 1991 | 84279.1627 | 39884 | 4277.37 | 128.4405 | 345.6891 | 371.5493 | 1991 | 20318.2775 | 10688 | 0 | 31.0063 | 345.6891 | 89.6941
| 1992 | 78542.3743 | 25761 | 2820.76 | 107.1241 | 345.2672 | 310.2644 | 1992 | 64761.2084 | 31133 | 4231.14 | 100.1253 | 345.2672 | 289.9938 | 1992 | 15950.1437 | 8498 | 0 | 24.4481 | 345.2672 | 70.8093
| 1993 | 59905.399 | 27539 | 2816.42 | 90.2608 | 353.2669 | 255.5032 | 1993 | 51750.2424 | 32971 | 4224.63 | 88.9459 | 353.2669 | 251.7809 | 1993 | 16693.8389 | 10757 | 0 | 27.4508 | 353.2669 | 77.7057
| 1994 | 61250.9642 | 28490 | 4955.616 | 94.6966 | 353.1999 | 268.1104 | 1994 | 54510.3808 | 35376 | 3992.024 | 93.8784 | 353.1999 | 265.7939 | 1994 | 18350.7306 | 15057 | 3028.432 | 36.4362 | 353.1999 | 103.1602
| 1995 | 50552.743 | 23512.412 | 4012.708 | 78.0779 | 362.8559 | 215.1759 | 1995 | 40282.5261 | 26421.164 | 4012.708 | 70.7164 | 362.8559 | 194.8884 | 1995 | 14560.8325 | 12725.79 | 3152.842 | 30.4395 | 362.8559 | 83.8886
| 1996 | 89869.2313 | 28102.071 | 6936.663 | 124.908 | 362.728 | 344.3571 | 1996 | 74838.1041 | 31398.3756 | 8024.767 | 114.2612 | 362.728 | 315.0053 | 1996 | 26896.325 | 18026.1968 | 4216.403 | 49.1389 | 362.728 | 135.4704
| 1997 | 43825.1066 | 25061 | 2028.964 | 70.9151 | 370.211 | 191.5531 | 1997 | 47234.5162 | 27699 | 3043.446 | 77.977 | 370.211 | 210.6284 | 1997 | 19182.7569 | 14509 | 1739.112 | 35.4309 | 370.211 | 95.7045
| 1998 | 30281.7059 | 18811.24 | 2006.42 | 51.0994 | 383.793 | 133.143 | 1998 | 35850.5481 | 20826.73 | 3086.8 | 59.7641 | 383.793 | 155.7196 | 1998 | 16185.8819 | 11421.11 | 1697.74 | 29.3047 | 383.793 | 76.3556
| 1999 | 20591.5308 | 18663.4 | 1956.63 | 41.2116 | 384.058 | 107.3056 | 1999 | 28307.2325 | 21329.6 | 2859.69 | 52.4965 | 384.058 | 136.689 | 1999 | 13740.4147 | 11331.35 | 1655.61 | 26.7274 | 384.058 | 69.592
| 2000 | 6948.69 | 18813.2 | 1844.622 | 27.6065 | 393.839 | 70.0959 | 2000 | 23207.94 | 20828.9 | 2554.092 | 46.5909 | 393.839 | 118.2994 | 2000 | 13041.63 | 11422.3 | 1702.728 | 26.1667 | 393.839 | 66.44